## NOTES
2020 was the third summer of measurements overseen by the Atmospheric Sciences Research Center
Analytical chemistry measurements were conducted by the Adirondack Lake Survey Corporation (ALSC) unless otherwise specified.
Total nitrogen and organic acids have not yet been measured for these samples.
Samples are classified as 'VALID' and 'INVALID' in the so-named tabs based on the historical classification scheme determined by ion balance criteria.
Method Detection Limits are based on 3 times the standard deviation of 7 replicates of a low-level check standard.
Cl | 0.007 mg/L
NO3 | 0.005 mg/L
SO4 | 0.023 mg/L
K | 0.006 mg/L
Na | 0.009 mg/L
Mg | 0.002 mg/L
Ca | 0.015 mg/L
NH4 | 0.029 mg/L
TOC | 0.014 mg C/L
Parameter Technique Method Reference
Lab pH Open, stirred EPA AERP 051
Specific Conductance YSI @ 25oC EPA 120.12, 2510 B4
Chloride Ion Chromatography EPA 300.03, 4110 B4
Nitrate Ion Chromatography EPA 300.03, 4110 B4
Sulfate Ion Chromatography EPA 300.03, 4110 B4
Total Organic Carbon UV/Persulfate Oxidation EPA 415.12, 5310 C4
Ammonium Automated phenolate EPA 350.12, 4500-NH3 G4
Sodium AAS Direct Aspiration EPA 273.12, 3111 B4
Potassium AAS Direct Aspiration EPA 258.12, 3111 B4
Calcium AAS Direct Aspiration EPA 215.12, 3111 B4
Magnesium AAS Direct Aspiration EPA 242.12, 3111 B4
1Handbook of Methods for Acidic Deposition Studies: Laboratory Analysis for Surface Water Chemistry, EPA 600/4-87-026.
2Methods for Chemical Analysis of Water and Wastes, EPA 600/4-79-020, 1979, Revised 1983.
3Methods for the Determination of Inorganic Substances in Environmental Samples, EPA 600/R-93-100, 1993.
4Standard Methods for the Examination of Water and Wastewater, 18th-21st Editions, American Public Health Association, American Water Works Association, and Water Pollution Control Federation, 1992-2005.

## 2020 VALID
Atmospheric Sciences Research Center
http://atmoschem.asrc.cestm.albany.edu/~cloudwater/
Whiteface 2020 VALID DATA
LABNO | DUMP TIME | COLLECTION_HOURS | COLL_HR_F | POOL_VOL ml | LWC g m-3 | LWC_F | TEMP °C | WINDDIR_AVG °AZ | OCTANT | AVG_S_WSP m s-1 | LABPH | LABPH_F | SPCOND µS cm-1 | SPCOND_F | HION µeq L-1 | CA mg L-1 | CA_F | CA µeq L-1 | MG mg L-1 | MG_F | MG µeq L-1 | NA mg L-1 | NA_F | NA µeq L-1 | K mg L-1 | K_F | K µeq L-1 | NH4 mg L-1 | NH4_F | NH4 µeq L-1 | SO4 mg L-1 | SO4_F | SO4 µeq L-1 | NO3 mg L-1 | NO3_F | NO3 µeq L-1 | CL mg L-1 | CL_F | CL µeq L-1 | TOC µmols C L-1 | TOC_F | TN mg L-1 | TN_F | COMMENT | CATION_ANION_RATIO | SUM_CATIONS µeq L-1 | SUM_ANIONS µeq L-1 | RPD | MP_TEST | MISS_MAJ_ION | Glyoxalate_ppb | Formate_ppb | AcetateGlycolate_ppb | Lactate_ppb | Malonate_ppb | Oxalate_ppb | Pyruvate_ppb | SuccinateMalate_ppb
2015602 | 2020-06-04 06:00 | 9.5885 |  | 7444 | 0.59715 |  | 7.7669 | 306.7457 | NW | 13.4922 | 6.087 |  | 12.092 |  | 0.81846 | 0.377 |  | 18.8133 | 0.066 |  | 5.431 | 0.026 |  | 1.1309 | 0.037 |  | 0.94633 | 1.068 |  | 59.2051 | 0.89 |  | 18.9231 | 1.459 |  | 23.5304 | 0.046 |  | 1.2975 | 312.5 |  |  |  |  | 1.9734 | 86.3394 | 43.751 | 65.4751 |  |  | M | M | M | M | M | M | M | M
2015904 | 2020-06-07 06:00 | 7.2196 |  | 4114 | 0.56504 |  | 4.0444 | 130.9154 | SE | 8.9955 | 6.358 |  | 9.905 |  | 0.43853 | 0.473 |  | 23.604 | 0.096 |  | 7.8996 | 0.014 |  | 0.60897 | 0.036 |  | 0.92076 | 0.7 |  | 38.8048 | 0.951 |  | 20.2201 | 0.731 |  | 11.7894 | 0.048 |  | 1.3539 | 281.1667 |  |  |  |  | 2.1663 | 72.2736 | 33.3634 | 73.6679 |  |  | M | M | M | M | M | M | M | M
2015905 | 2020-06-07 18:00 | 1.0521 |  | 411 | 0.14459 |  | 3.5454 | 88.8594 | E | 6.0634 | 6.142 |  | 7.914 |  | 0.72111 | 0.54 |  | 26.9475 | 0.214 |  | 17.6095 | 0.031 |  | 1.3484 | 0.185 |  | 4.7317 | 0.212 |  | 11.7523 | 0.647 |  | 13.7564 | 0.604 |  | 9.7412 | 0.081 |  | 2.2847 | 503.4167 |  |  |  |  | 2.4476 | 63.1055 | 25.7823 | 83.9781 |  |  | M | M | M | M | M | M | M | M
2016303 | 2020-06-11 18:00 | 7.4551 |  | 2561 | 0.60659 |  | 13.0621 | 274.0034 | W | 10.4584 | 6.287 |  | 12.06 |  | 0.51642 | 0.412 |  | 20.5599 | 0.073 |  | 6.007 | 0.088 |  | 3.8278 | 0.08 |  | 2.0461 | 0.91 |  | 50.4463 | 0.923 |  | 19.6247 | 1.409 |  | 22.724 | 0.08 |  | 2.2565 | 282.9167 |  |  |  |  | 1.8697 | 83.3999 | 44.6052 | 60.6142 |  |  | M | M | M | M | M | M | M | M
2017601 | 2020-06-24 18:00 | 11.744 |  | 2530 | 0.62527 |  | 10.1542 | 275.4476 | W | 9.2661 | 6.079 |  | 6.321 |  | 0.83368 | 0.118 |  | 5.8885 | 0.028 |  | 2.3041 | 0.012 |  | 0.52197 | 0.016 |  | 0.40922 | 0.615 |  | 34.0928 | 0.602 |  | 12.7997 | 0.602 |  | 9.7089 | 0.034 |  | 0.95902 | 131.75 |  |  |  |  | 1.8768 | 44.0444 | 23.4676 | 60.9576 |  |  | M | M | M | M | M | M | M | M
2018004 | 2020-06-28 06:00 | 10.0435 |  | 6420 | 0.7776 |  | 12.2178 | 286.8275 | W | 9.617 | 6.151 |  | 11.177 |  | 0.70632 | 0.362 |  | 18.0648 | 0.076 |  | 6.2539 | 0.025 |  | 1.0874 | 0.021 |  | 0.53711 | 1.007 |  | 55.8235 | 0.842 |  | 17.9025 | 1.444 |  | 23.2885 | 0.036 |  | 1.0154 | 283.25 |  |  |  |  | 1.9539 | 82.4681 | 42.2064 | 64.5868 |  |  | M | M | M | M | M | M | M | M
2018005 | 2020-06-28 18:00 | 2.6689 |  | 3490 | 0.40133 |  | 12.4894 | 297.1038 | NW | 5.5813 | 6.063 |  | 11.273 |  | 0.86497 | 0.389 |  | 19.4121 | 0.09 |  | 7.4059 | 0.023 |  | 1.0004 | 0.03 |  | 0.7673 | 1.023 |  | 56.7105 | 0.894 |  | 19.0081 | 1.47 |  | 23.7078 | 0.048 |  | 1.3539 | 319.75 |  |  |  |  | 1.955 | 86.1552 | 44.0698 | 64.6348 |  |  | M | M | M | M | M | M | M | M
2018101 | 2020-06-29 13:00 | 9.2319 |  | 2519 | 0.76774 |  | 11.6711 | 88.5384 | E | 5.4306 | 6.286 |  | 13.393 |  | 0.51761 | 0.065 |  | 3.2437 | 0.015 |  | 1.2343 | 0.007 |  | 0.30448 | 0.022 |  | 0.56268 | 1.595 |  | 88.4195 | 1.216 |  | 25.8545 | 1.589 |  | 25.627 | 0.04 |  | 1.1283 | 317.8333 |  |  |  |  | 1.792 | 94.2787 | 52.6097 | 56.7356 |  |  | M | M | M | M | M | M | M | M
2018203 | 2020-06-30 18:00 | 1.2411 |  | 713 | 0.42317 |  | 12.1218 | 132.4301 | SE | 2.3964 | 6.296 |  | 8.325 |  | 0.50582 | 0.097 |  | 4.8406 | 0.046 |  | 3.7852 | 0.042 |  | 1.8269 | 0.104 |  | 2.66 | 0.806 |  | 44.681 | 0.423 |  | 8.9938 | 0.981 |  | 15.8213 | 0.087 |  | 2.454 | 234.9167 |  |  |  |  | 2.1378 | 58.2959 | 27.2691 | 72.5223 |  |  | M | M | M | M | M | M | M | M
2018304 | 2020-07-01 06:00 | 4.2901 |  | 1633 | 0.53582 |  | 12.0631 | 134.5678 | SE | 2.5895 | 6.112 |  | 8.488 |  | 0.77268 | 0.123 |  | 6.138 | 0.038 |  | 3.1269 | 0.059 |  | 2.5664 | 0.05 |  | 1.2788 | 0.877 |  | 48.6169 | 0.576 |  | 12.2469 | 1.026 |  | 16.5471 | 0.147 |  | 4.1463 | 250.0833 |  |  |  |  | 1.8972 | 62.4943 | 32.9403 | 61.9358 |  |  | M | M | M | M | M | M | M | M
2018301 | 2020-07-01 18:00 | 4.2264 |  | 1387 | 0.47929 |  | 12.8489 | 112.2995 | E | 3.6044 | 5.434 |  | 9.924 |  | 3.6813 | 0.251 |  | 12.5256 | 0.061 |  | 5.0195 | 0.085 |  | 3.6973 | 0.062 |  | 1.5857 | 0.669 |  | 37.0863 | 1.145 |  | 24.3449 | 1.309 |  | 21.1112 | 0.173 |  | 4.8797 | 299.8333 |  |  |  | filtered | 1.2629 | 63.5702 | 50.3358 | 23.2374 |  |  | 0 | 210 | 150 | 30 | M | 90 | 47 | M
2018501 | 2020-07-03 18:00 | 1.2688 |  | 501 | 0.17377 |  | 14.2674 | 37.6097 | NE | 3.7232 | 4.58 |  | 15.299 |  | 26.3027 | 0.358 |  | 17.8652 | 0.075 |  | 6.1716 | 0.046 |  | 2.0009 | 0.044 |  | 1.1254 | 0.154 |  | 8.5371 | 1.096 |  | 23.303 | 0.727 |  | 11.7249 | 0.09 |  | 2.5386 | 912.6667 |  |  |  | filtered | 1.6456 | 61.8199 | 37.5665 | 48.8063 |  |  | 71 | 390 | 360 | 67 | M | 155 | 60 | M
2019303 | 2020-07-11 18:00 | 5.2029 |  | 267 | 0.6255 |  | 16.8752 | 264.309 | W | 7.8251 | 5.688 |  | 4.182 |  | 2.0512 | 0.237 |  | 11.8269 | 0.088 |  | 7.2413 | 0.042 |  | 1.8269 | 0.009 |  | 0.23019 | 0.024 |  | 1.3305 | 0.213 |  | 4.5288 | 0.45 |  | 7.2575 | 0.064 |  | 1.8052 | 218.5833 |  |  |  | filtered | 1.8021 | 24.4927 | 13.5915 | 57.248 |  |  | 0 | 210 | 110 | 29 | M | 171 | 45 | M
2019405 | 2020-07-12 18:00 | 9.1245 |  | 160 | 0.62941 |  | 14.0203 | 303.5024 | NW | 16.1736 | 5.313 |  | 22.642 |  | 4.8641 | 0.205 |  | 10.2301 | 0.078 |  | 6.4184 | 0.031 |  | 1.3484 | 0.048 |  | 1.2277 | 0.414 |  | 22.9503 | 0.842 |  | 17.9025 | 0.848 |  | 13.6763 | 0.074 |  | 2.0873 | 350.8333 |  |  |  | filtered | 1.3962 | 47.0051 | 33.6661 | 33.07 |  |  | M | M | M | M | M | M | M | M
2019506 | 2020-07-13 06:00 | 9.4502 |  | 258 | 0.60396 |  | 12.8504 | 289.7953 | W | 9.0355 | 5.422 |  | 13.2 |  | 3.7844 | 0.094 |  | 4.6909 | 0.042 |  | 3.4561 | 0.051 |  | 2.2184 | 0.119 |  | 3.0436 | 1.362 |  | 75.5031 | 1.203 |  | 25.5781 | 1.234 |  | 19.9017 | 0.096 |  | 2.7078 | 721.5 |  |  |  | filtered | 1.9231 | 92.6701 | 48.1875 | 63.1596 |  |  | 58 | 420 | 270 | 62 | M | 50 | 52 | M
2019501 | 2020-07-13 18:00 | 6.2495 |  | 1204 | 0.4853 |  | 12.3355 | 300.1283 | NW | 5.4186 | 5.586 |  | 11.612 |  | 2.5942 | 0.125 |  | 6.2378 | 0.024 |  | 1.9749 | 0.017 |  | 0.73946 | 0.051 |  | 1.3044 | 1.229 |  | 68.1302 | 0.901 |  | 19.157 | 1.339 |  | 21.5951 | 0.051 |  | 1.4385 | 526.1667 |  |  |  | filtered | 1.919 | 80.9629 | 42.1906 | 62.9659 |  |  | 40 | 370 | 390 | 40 | M | 60 | 25 | M
2019701 | 2020-07-15 18:00 | 0.17662 |  | 265 | 0.14923 |  | 14.4648 | 189.9289 | S | 1.9305 | 6.231 |  | 4.655 |  | 0.58749 | 0.231 |  | 11.5275 | 0.044 |  | 3.6207 | 0.022 |  | 0.95695 | 0.093 |  | 2.3786 | 0.272 |  | 15.0784 | 0.18 |  | 3.8271 | 0.413 |  | 6.6608 | 0.044 |  | 1.2411 | 159.5833 |  |  |  | filtered | 2.9112 | 34.1456 | 11.729 | 97.73 |  |  | 72 | 190 | 200 | 15 | M |  | 18 | M
2019904 | 2020-07-17 06:00 | 9.4451 |  | 239 | 0.86554 |  | 12.7547 | 253.5701 | W | 12.8972 | 4.481 |  | 12.284 |  | 33.037 | 0.165 |  | 8.2339 | 0.039 |  | 3.2092 | 0.092 |  | 4.0018 | 0.04 |  | 1.0231 | 0.525 |  | 29.1036 | 1.052 |  | 22.3675 | 1.642 |  | 26.4818 | 0.162 |  | 4.5694 | 241.1667 |  |  |  | filtered | 1.4673 | 78.3789 | 53.4187 | 37.8765 |  |  | 0 | 140 | 110 | 25 | M | 20 | 45 | M
2019901 | 2020-07-17 18:00 | 7.643 |  | 1205 | 0.85734 |  | 14.244 | 290.8188 | W | 10.8301 | 4.984 |  | 6.661 |  | 10.3753 | 0.018 |  | 0.89825 | 0.002 |  | 0.16458 | 0.033 |  | 1.4354 | 0.008 |  | 0.20461 | 0.204 |  | 11.3088 | 0.761 |  | 16.1803 | 0.66 |  | 10.6443 | 0.031 |  | 0.8744 | 118.5833 |  |  |  | filtered | 0.87782 | 24.3148 | 27.699 | -13.0126 |  |  | 0 | 150 | 96 | 26 | M |  | 47 | M
2020303 | 2020-07-21 18:00 | 2.2855 |  | 124 | 0.28624 |  | 11.2269 | 307.1594 | NW | 3.5844 | 6.04 |  |  |  | 0.91201 | 1.07 |  | 53.3959 | 0.147 |  | 12.0963 | 0.016 |  | 0.69596 | 0.423 |  | 10.8189 | 0.236 |  | 13.0828 | 1.103 |  | 23.4519 | 0.913 |  | 14.7246 | 0.476 |  | 13.4262 | 614.9167 |  |  |  | filtered | 1.7634 | 90.9954 | 51.6027 | 55.2499 |  |  | M | M | M | M | M | M | M | M
2020503 | 2020-07-23 18:00 | 5.3655 |  | 514 | 0.38694 |  | 14.4252 | 305.2487 | NW | 7.367 | 4.905 |  | 19.701 |  | 12.4451 | 0.342 |  | 17.0667 | 0.071 |  | 5.8424 | 0.028 |  | 1.2179 | 0.054 |  | 1.3811 | 1.405 |  | 77.8868 | 2.661 |  | 56.5779 | 2.987 |  | 48.1736 | 0.073 |  | 2.0591 | 299.75 |  |  |  | filtered | 1.0837 | 115.7536 | 106.8106 | 8.0364 |  |  | 0 | 210 | 170 | 16 | M | 20 | 29 | M
2020604 | 2020-07-24 06:00 | 8.3961 |  | 606 | 0.58085 |  | 11.8793 | 185.9061 | S | 6.6111 | 5.221 |  | 18.643 |  | 6.0117 | 0.296 |  | 14.7712 | 0.06 |  | 4.9373 | 0.021 |  | 0.91345 | 0.048 |  | 1.2277 | 1.707 |  | 94.6283 | 2.293 |  | 48.7535 | 3.049 |  | 49.1735 | 0.077 |  | 2.1719 | 358.1667 |  |  |  | filtered | 1.2233 | 122.4478 | 100.099 | 20.0847 |  |  | 0 | 280 | 210 | 14 | M | 60 | 27 | M
2020906 | 2020-07-27 06:00 | 7.1492 |  | 349 | 0.49325 |  | 6.7637 | 293.3377 | NW | 15.9168 | 6.277 |  | 9.66 |  | 0.52845 | 0.172 |  | 8.5833 | 0.027 |  | 2.2218 | 0.021 |  | 0.91345 | 0.17 |  | 4.348 | 0.884 |  | 49.0049 | 0.846 |  | 17.9876 | 1.197 |  | 19.3049 | 0.073 |  | 2.0591 | 235.8333 |  |  |  | filtered | 1.6669 | 65.5962 | 39.3516 | 50.0147 |  |  | 0 | 180 | 130 | 30 | M | 10 | 0 | M
2021505 | 2020-08-02 18:00 | 4.5468 |  | 730 | 0.4973 |  | 15.5185 | 232.0838 | SW | 15.5844 | 6.523 |  | 11.541 |  | 0.29992 | 0.793 |  | 39.5728 | 0.297 |  | 24.4394 | 0.062 |  | 2.6968 | 0.132 |  | 3.3761 | 0.484 |  | 26.8308 | 0.636 |  | 13.5226 | 1.09 |  | 17.5793 | 0.106 |  | 2.9899 | 241.5833 |  |  |  | filtered | 2.8515 | 97.2138 | 34.0917 | 96.1454 |  |  | 0 | 310 | 220 | 26 | M | 10 | 44 | M
2021801 | 2020-08-05 18:00 | 5.849 |  | 665 | 0.61367 |  | 10.5637 | 278.8705 | W | 9.5774 | 5.878 |  | 6.02 |  | 1.3243 | 0.255 |  | 12.7252 | 0.111 |  | 9.1339 | 0.012 |  | 0.52197 | 0.011 |  | 0.28134 | 0.318 |  | 17.6285 | 0.52 |  | 11.0562 | 0.672 |  | 10.8379 | 0.032 |  | 0.9026 | 165.3333 |  |  |  | filtered | 1.8251 | 41.606 | 22.7966 | 58.4118 |  |  | 0 | 290 | 120 | 24 | M |  | 44 | M
2021903 | 2020-08-06 18:00 | 2.732 |  | 220 | 0.2015 |  | 6.3407 | 301.584 | NW | 12.8109 | 6.277 |  | 12.832 |  | 0.52845 | 0.895 |  | 44.6629 | 0.198 |  | 16.2929 | 0.099 |  | 4.3063 | 0.014 |  | 0.35807 | 0.316 |  | 17.5176 | 0.853 |  | 18.1364 | 1.079 |  | 17.4018 | 0.099 |  | 2.7924 | 306.4167 |  |  |  | filtered | 2.1827 | 83.6626 | 38.3307 | 74.3187 |  |  | 0 | 300 | 240 | 20 | M |  | 19 | M
2022204 | 2020-08-09 06:00 | 2.496 |  | 789 | 0.44463 |  | 12.7386 | 283.242 | W | 6.1578 | 5.984 |  |  |  | 1.0375 | 0.349 |  | 17.416 | 0.084 |  | 6.9122 | 0.027 |  | 1.1744 | 0.074 |  | 1.8927 | 0.919 |  | 50.9452 | 0.586 |  | 12.4595 | 1.383 |  | 22.3047 | 0.107 |  | 3.0181 |  | M |  |  | filtered | 2.1007 | 79.3708 | 37.7822 | 70.9987 |  |  | 0 | 270 | 100 | 27 | M | 10 | 0 | M
2022301 | 2020-08-10 18:00 | 7.0413 |  | 2457 | 0.4515 |  | 15.2232 | 291.9941 | W | 7.8509 | 4.739 |  | 23.699 |  | 18.239 | 0.465 |  | 23.2048 | 0.082 |  | 6.7476 | 0.035 |  | 1.5224 | 0.044 |  | 1.1254 | 1.575 |  | 87.3108 | 3.127 |  | 66.4859 | 2.889 |  | 46.5931 | 0.099 |  | 2.7924 | 457.1667 |  |  |  | filtered | 1.1912 | 138.0231 | 115.8715 | 17.4495 |  |  | 0 | 330 | 230 | 31 | M | 80 | 53 | M
2022501 | 2020-08-12 18:00 | 2.2667 |  | 93 | 0.36327 |  | 12.6291 | 299.6311 | NW | 13.437 | 5.719 |  |  |  | 1.9099 | 0.486 |  | 24.2527 | 0.1 |  | 8.2288 | 0.017 |  | 0.73946 | 0.02 |  | 0.51153 | 0.335 |  | 18.5709 | 0.619 |  | 13.1611 | 1.402 |  | 22.6111 | 0.13 |  | 3.6668 | 231.9167 |  |  |  | filtered | 1.3743 | 54.1999 | 39.4391 | 31.5272 |  |  | M | M | M | M | M | M | M | M
2023001 | 2020-08-17 18:00 | 3.5617 |  | 1014 | 0.23614 |  | 11.5605 | 284.684 | W | 4.4365 | 6.043 |  | 3.715 |  | 0.90573 | 0.061 |  | 3.0441 | 0.013 |  | 1.0697 | 0.023 |  | 1.0004 | 0.061 |  | 1.5602 | 0.203 |  | 11.2534 | 0.186 |  | 3.9547 | 0.233 |  | 3.7578 | 0.037 |  | 1.0436 | 100.75 |  |  |  | filtered | 2.1502 | 18.8272 | 8.7561 | 73.0232 |  |  | M | M | M | M | M | M | M | M
2023103 | 2020-08-18 18:00 | 3.6379 |  | 140 | 0.49139 |  | 8.4133 | 290.5349 | W | 8.9405 | 5.402 |  | 9.404 |  | 3.9628 | 0.348 |  | 17.3661 | 0.053 |  | 4.3612 | 0.034 |  | 1.4789 | 0.017 |  | 0.4348 | 0.5 |  | 27.7177 | 0.943 |  | 20.05 | 1.429 |  | 23.0466 | 0.079 |  | 2.2283 | 255.4167 |  |  |  | filtered | 1.22 | 55.2941 | 45.3248 | 19.8158 |  |  | M | M | M | M | M | M | M | M
2023204 | 2020-08-19 06:00 | 5.8891 |  | 157 | 0.35065 |  | 7.1916 | 316.6974 | NW | 10.8308 | 5.94 |  | 9.922 |  | 1.1482 | 0.43 |  | 21.4582 | 0.06 |  | 4.9373 | 0.031 |  | 1.3484 | 0.031 |  | 0.79287 | 0.958 |  | 53.1072 | 0.838 |  | 17.8175 | 0.807 |  | 13.0151 | 0.07 |  | 1.9744 | 502.6667 |  |  |  | filtered | 2.5234 | 82.784 | 32.807 | 86.4721 |  |  | M | M | M | M | M | M | M | M
2023201 | 2020-08-19 18:00 | 1.7392 |  | 165 | 0.1865 |  | 6.3713 | 305.6093 | NW | 6.9046 | 5.982 |  | 8.055 |  | 1.0423 | 0.781 |  | 38.974 | 0.105 |  | 8.6402 | 0.021 |  | 0.91345 | 0.028 |  | 0.71614 | 0.196 |  | 10.8653 | 0.832 |  | 17.6899 | 0.807 |  | 13.0151 | 0.067 |  | 1.8898 | 360.25 |  |  |  | filtered | 1.8759 | 61.1442 | 32.5948 | 60.9125 |  |  | 0 | 250 | 77 | 27 | M |  | 0 | M
2023904 | 2020-08-26 06:00 | 6.7827 |  | 270 | 0.36398 |  | 5.2691 | 238.0679 | SW | 7.7786 | 6.511 |  | 14.067 |  | 0.30832 | 0.681 |  | 33.9837 | 0.181 |  | 14.8941 | 0.044 |  | 1.9139 | 0.082 |  | 2.0973 | 0.598 |  | 33.1504 | 0.81 |  | 17.2221 | 0.584 |  | 9.4186 | 0.093 |  | 2.6232 | 264 |  |  |  | filtered | 2.9506 | 86.3455 | 29.2639 | 98.749 |  |  | 0 | 270 | 250 | 23 | M |  | 0 | M
2024002 | 2020-08-27 06:00 | 3.9226 |  | 1153 | 0.37614 |  | 4.8978 | 312.3952 | NW | 14.5773 | 6.498 |  | 9.731 |  | 0.31769 | 0.54 |  | 26.9475 | 0.092 |  | 7.5705 | 0.099 |  | 4.3063 | 0.047 |  | 1.2021 | 0.627 |  | 34.758 | 0.548 |  | 11.6515 | 1.228 |  | 19.8049 | 0.149 |  | 4.2027 | 187.0833 |  |  |  | filtered | 2.106 | 75.0998 | 35.6592 | 71.2188 |  |  | 0 | 330 | 180 | 26 | M |  | 0 | M
2024003 | 2020-08-27 18:00 | 7.7593 |  | 271 | 0.4553 |  | 9.7906 | 299.2248 | NW | 7.2206 | 6.502 |  | 9.404 |  | 0.31477 | 0.859 |  | 42.8664 | 0.12 |  | 9.8745 | 0.075 |  | 3.2623 | 0.055 |  | 1.4067 | 0.343 |  | 19.0144 | 0.484 |  | 10.2908 | 0.959 |  | 15.4665 | 0.084 |  | 2.3693 | 199.1667 |  |  |  | filtered | 2.7283 | 76.7369 | 28.1266 | 92.7115 |  |  | 0 | 220 | 240 | 24 | M |  | 0 | M
2024104 | 2020-08-28 06:00 | 9.7914 |  | 303 | 0.58605 |  | 9.5843 | 330.1353 | NW | 8.1059 | 6.263 |  | 5.116 |  | 0.54576 | 0.46 |  | 22.9552 | 0.107 |  | 8.8048 | 0.007 |  | 0.30448 | 0.02 |  | 0.51153 | 0.095 |  | 5.2664 | 0.306 |  | 6.5061 | 0.493 |  | 7.951 | 0.023 |  | 0.64875 | 91.5833 |  |  |  | filtered | 2.541 | 38.3844 | 15.1059 | 87.0383 |  |  | 0 | 160 | 140 | 20 | M |  | 0 | M
2024202 | 2020-08-29 06:00 | 0.18064 |  | 211 | 0.52801 |  | 11.3764 | 243.5321 | SW | 14.6301 | 5.894 |  | 6.427 |  | 1.2764 | 0.241 |  | 12.0265 | 0.083 |  | 6.8299 | 0.013 |  | 0.56547 | 0.172 |  | 4.3992 | 0.323 |  | 17.9056 | 0.613 |  | 13.0335 | 0.75 |  | 12.0958 | 0.055 |  | 1.5513 | 182.75 |  |  |  | filtered | 1.6114 | 42.9943 | 26.6807 | 46.8276 |  |  | M | M | M | M | M | M | M | M
2024203 | 2020-08-29 18:00 | 9.373 |  | 586 | 0.78092 |  | 13.4397 | 271.4058 | W | 8.5199 | 5.682 |  | 4.952 |  | 2.0797 | 0.185 |  | 9.232 | 0.058 |  | 4.7727 | 0.016 |  | 0.69596 | 0.023 |  | 0.58826 | 0.175 |  | 9.7012 | 0.475 |  | 10.0994 | 0.684 |  | 11.0314 | 0.025 |  | 0.70516 | 122.25 |  |  |  | filtered | 1.239 | 27.0553 | 21.8359 | 21.351 |  |  | 0 | 250 | 76 | 27 | M |  | 0 | M
2024304 | 2020-08-30 06:00 | 7.5898 |  | 166 | 0.52059 |  | 7.4835 | 306.8999 | NW | 19.083 | 5.791 |  | 5.608 |  | 1.6181 | 0.089 |  | 4.4413 | 0.024 |  | 1.9749 | 0.004 |  | 0.17399 | 0.014 |  | 0.35807 | 0.115 |  | 6.3751 | 0.238 |  | 5.0603 | 0.287 |  | 4.6287 | 0.038 |  | 1.0718 | 75.25 |  |  |  | filtered | 1.3875 | 14.9302 | 10.7608 | 32.4578 |  |  | 44 | 270 | 73 | 27 | M |  | 0 | M
2024502 | 2020-09-01 06:00 | 1.2906 |  | 407 | 0.16345 |  | 9.0697 | 258.0288 | W | 8.682 | 5.505 |  | 9.602 |  | 3.1261 | 0.223 |  | 11.1283 | 0.053 |  | 4.3612 | 0.105 |  | 4.5672 | 0.08 |  | 2.0461 | 0.607 |  | 33.6493 | 0.566 |  | 12.0342 | 1.945 |  | 31.3685 | 0.19 |  | 5.3592 | 209.1667 |  |  |  | filtered | 1.207 | 58.8566 | 48.7619 | 18.7601 |  |  | 0 | 290 | 96 | 22 | M |  | 0 | M
2024503 | 2020-09-01 18:00 | 9.5194 |  | 1069 | 0.66591 |  | 10.6438 | 241.0985 | SW | 12.489 | 4.902 |  | 10.143 |  | 12.5314 | 0.151 |  | 7.5353 | 0.037 |  | 3.0446 | 0.127 |  | 5.5242 | 0.022 |  | 0.56268 | 0.197 |  | 10.9208 | 0.778 |  | 16.5418 | 1.237 |  | 19.95 | 0.246 |  | 6.9388 | 151.5833 |  |  |  | filtered | 0.92175 | 40.0319 | 43.4306 | -8.1441 |  |  | 36 | 170 | 40 | 46 | M | 10 | 23 | M
2024604 | 2020-09-02 06:00 | 9.6156 |  | 257 | 0.77746 |  | 11.545 | 244.6667 | SW | 13.9896 | 4.75 |  | 15.649 |  | 17.7828 | 0.157 |  | 7.8347 | 0.08 |  | 6.583 | 0.481 |  | 20.9223 | 0.027 |  | 0.69057 | 0.274 |  | 15.1893 | 1.135 |  | 24.1322 | 1.935 |  | 31.2072 | 0.856 |  | 24.1446 | 148.5833 |  |  |  | filtered | 0.86658 | 68.8791 | 79.4841 | -14.296 |  |  | 0 | 170 | 83 | 29 | M |  | 0 | M
2024601 | 2020-09-02 18:00 | 3.3968 |  | 564 | 0.57946 |  | 13.7917 | 265.3211 | W | 12.6808 | 5.284 |  | 3.342 |  | 5.2 | 0.042 |  | 2.0959 | 0.007 |  | 0.57601 | 0.018 |  | 0.78296 | 0.023 |  | 0.58826 | -0.044 |  | -2.4392 | 0.222 |  | 4.7201 | 0.273 |  | 4.4029 | 0.033 |  | 0.93081 | 88.5 |  |  |  | filtered | 0.67316 | 6.7678 | 10.0538 | -39.0691 |  |  | 0 | 190 | 45 | 0 | M |  | 56 | M
2024702 | 2020-09-03 06:00 | 9.0017 |  | 328 | 0.60291 |  | 9.9867 | 301.4655 | NW | 13.3826 | 5.391 |  | 11.109 |  | 4.0644 | 0.124 |  | 6.1879 | 0.03 |  | 2.4686 | 0.087 |  | 3.7843 | 0.063 |  | 1.6113 | 0.922 |  | 51.1115 | 1.467 |  | 31.1912 | 1.582 |  | 25.5141 | 0.061 |  | 1.7206 | 181.6667 |  |  |  | filtered | 1.1844 | 69.1998 | 58.4259 | 16.8836 |  |  | 51 | 340 | 100 | 30 | M |  | 47 | M
2024903 | 2020-09-05 18:00 | 1.9753 |  | 215 | 0.2468 |  | 4.2816 | 285.5691 | W | 7.7849 | 6.492 |  | 12.158 |  | 0.32211 | 0.675 |  | 33.6843 | 0.16 |  | 13.166 | 0.034 |  | 1.4789 | 0.086 |  | 2.1996 | 0.824 |  | 45.6788 | 0.957 |  | 20.3476 | 1.239 |  | 19.9823 | 0.091 |  | 2.5668 | 302.5 |  |  |  | filtered | 2.2502 | 96.5275 | 42.8967 | 76.9318 |  |  | 28 | 300 | 130 | 18 | M | 30 | 18 | M
2025705 | 2020-09-13 18:00 | 5.9653 |  | 165 | 0.47118 |  | 11.3177 | 271.6995 | W | 10.3089 | 5.562 |  | 53.227 |  | 2.7416 | 1.236 |  | 61.6797 | 0.308 |  | 25.3446 | 0.963 |  | 41.8881 | 0.435 |  | 11.1258 | 2.326 |  | 128.9428 | 4.573 |  | 97.2306 | 6.67 |  | 107.5721 | 1.366 |  | 38.5299 | 459.4167 |  |  |  | filtered | 1.1166 | 271.7036 | 243.3327 | 11.0171 |  |  | M | M | M | M | M | M | M | M
2025806 | 2020-09-14 06:00 | 10.8602 |  | 163 | 0.76583 |  | 8.1312 | 303.7453 | NW | 13.6391 | 5.691 |  | 9.757 |  | 2.037 | 0.285 |  | 14.2223 | 0.057 |  | 4.6904 | 0.117 |  | 5.0892 | 0.062 |  | 1.5857 | 0.373 |  | 20.6774 | 0.945 |  | 20.0925 | 1.156 |  | 18.6437 | 0.193 |  | 5.4438 | 159.25 |  |  |  | filtered | 1.093 | 48.2879 | 44.18 | 8.8851 |  |  | M | M | M | M | M | M | M | M
2026704 | 2020-09-23 06:00 | 1.2945 |  | 933 | 0.21414 |  | 5.3169 | 333.3355 | NW | 16.2799 | 6.398 |  | 14.3 |  | 0.39994 | 0.582 |  | 29.0434 | 0.109 |  | 8.9693 | 0.026 |  | 1.1309 | 0.213 |  | 5.4478 | 0.961 |  | 53.2735 | 0.826 |  | 17.5623 | 2.129 |  | 34.336 | 0.061 |  | 1.7206 | 235 |  |  |  | filtered | 1.8326 | 98.2621 | 53.6189 | 58.787 |  |  | 0 | 380 | 140 | 22 | M | 30 | 0 | M
2027107 | 2020-09-27 18:00 | 5.0575 |  | 213 | 0.48532 |  | 11.6638 | 266.4549 | W | 11.1508 | 6.072 |  | 12.349 |  | 0.84723 | 0.568 |  | 28.3447 | 0.141 |  | 11.6026 | 0.177 |  | 7.6991 | 0.037 |  | 0.94633 | 0.373 |  | 20.6774 | 0.966 |  | 20.539 | 1.277 |  | 20.5951 | 0.236 |  | 6.6567 | 154.6667 |  |  |  | filtered | 1.467 | 70.1114 | 47.7908 | 37.8629 |  |  | 0 | 310 | 140 | 15 | M |  | 18 | M
2027201 | 2020-09-28 18:00 | 8.3697 |  | 1087 | 0.34391 |  | 13.0609 | 239.7895 | SW | 8.4327 | 5.285 |  | 9.61 |  | 5.188 | 0.321 |  | 16.0188 | 0.101 |  | 8.311 | 0.27 |  | 11.7443 | 0.029 |  | 0.74172 | 0.282 |  | 15.6328 | 0.953 |  | 20.2626 | 1.288 |  | 20.7726 | 0.466 |  | 13.1442 | 159.4167 |  |  |  | filtered | 1.0631 | 57.6006 | 54.1793 | 6.1215 |  |  | M | 240 | 110 | M | M | 20 | M | M
2027303 | 2020-09-29 18:00 | 6.5214 |  | 191 | 0.58811 |  | 10.8715 | 265.4206 | W | 10.2927 | 5.287 |  | 11.369 |  | 5.1642 | 0.217 |  | 10.8289 | 0.041 |  | 3.3738 | 0.067 |  | 2.9143 | 0.062 |  | 1.5857 | 0.855 |  | 47.3973 | 1.419 |  | 30.1706 | 1.431 |  | 23.0788 | 0.132 |  | 3.7232 | 253.8333 |  |  |  | filtered | 1.2502 | 71.2283 | 56.9727 | 22.2395 |  |  | 0 | 320 | 140 | 16 | M |  | 21 | M
2027404 | 2020-09-30 06:00 | 2.6253 |  | 99 | 0.26734 |  | 9.1878 | 242.5531 | SW | 8.7998 | 5.206 |  | 0 |  | 6.223 | 0.314 |  | 15.6694 | 0.056 |  | 4.6081 | 0.041 |  | 1.7834 | 0.085 |  | 2.174 | 0.316 |  | 17.5176 | 1.14 |  | 24.2386 | 0.906 |  | 14.6117 | 0.122 |  | 3.4412 |  | M |  |  | filtered | 1.1334 | 47.9323 | 42.2915 | 12.5041 |  |  | M | 350 | 140 | M | M |  | M | M

## 2020 INVALID
Atmospheric Sciences Research Center
http://atmoschem.asrc.cestm.albany.edu/~cloudwater/
Whiteface 2020 INVALID DATA
LABNO | DUMP TIME | COLLECTION_HOURS | COLL_HR_F | POOL_VOL ml | LWC g m-3 | LWC_F | TEMP °C | WINDDIR_AVG °AZ | OCTANT | AVG_S_WSP m s-1 | LABPH | LABPH_F | SPCOND µS cm-1 | SPCOND_F | HION µeq L-1 | CA mg L-1 | CA_F | CA µeq L-1 | MG mg L-1 | MG_F | MG µeq L-1 | NA mg L-1 | NA_F | NA µeq L-1 | K mg L-1 | K_F | K µeq L-1 | NH4 mg L-1 | NH4_F | NH4 µeq L-1 | SO4 mg L-1 | SO4_F | SO4 µeq L-1 | NO3 mg L-1 | NO3_F | NO3 µeq L-1 | CL mg L-1 | CL_F | CL µeq L-1 | TOC µmols C L-1 | TOC_F | TN mg L-1 | TN_F | COMMENT | CATION_ANION_RATIO | SUM_CATIONS µeq L-1 | SUM_ANIONS µeq L-1 | RPD | MP_TEST | MISS_MAJ_ION | Glyoxalate_ppb | Formate_ppb | AcetateGlycolate_ppb | Lactate_ppb | Malonate_ppb | Oxalate_ppb | Pyruvate_ppb | SuccinateMalate_ppb
2015502 | 2020-06-03 06:00 | 10.8538 |  | 10925 | 0.96783 |  | 6.1185 | 291.1601 | W | 9.6548 | 6.406 |  | 25.432 |  | 0.39264 | 0.543 |  | 27.0972 | 0.047 |  | 3.8675 | 0.024 |  | 1.0439 | 0.028 |  | 0.71614 | 2.737 |  | 151.7268 | 1.268 |  | 26.9601 | 3.448 |  | 55.6085 | 0.082 |  | 2.3129 | 401.3333 |  |  |  |  | 2.1776 | 184.8415 | 84.8815 | 74.1205 |  |  | M | M | M | M | M | M | M | M
2015501 | 2020-06-03 18:00 | 10.8883 |  | 11006 | 1.0406 |  | 8.8443 | 301.4635 | NW | 12.1121 | 6.252 |  | 14.396 |  | 0.55976 | 0.299 |  | 14.9209 | 0.044 |  | 3.6207 | 0.015 |  | 0.65246 | 0.021 |  | 0.53711 | 1.451 |  | 80.4368 | 0.822 |  | 17.4773 | 2.028 |  | 32.7071 | 0.05 |  | 1.4103 | 247.8333 |  |  |  |  | 1.9522 | 100.7238 | 51.5947 | 64.5084 |  |  | M | M | M | M | M | M | M | M
2015603 | 2020-06-04 18:00 | 3.921 |  | 660 | 0.31132 |  | 9.0453 | 290.0061 | W | 10.6133 | 5.916 |  | 15.835 |  | 1.2134 | 0.734 |  | 36.6286 | 0.229 |  | 18.8439 | 0.034 |  | 1.4789 | 0.162 |  | 4.1434 | 1.01 |  | 55.9898 | 1.432 |  | 30.447 | 1.748 |  | 28.1913 | 0.078 |  | 2.2001 | 663.4167 |  |  |  |  | 1.9443 | 118.2895 | 60.8384 | 64.1453 |  |  | M | M | M | M | M | M | M | M
2015704 | 2020-06-05 06:00 | 3.5212 |  | 1890 | 0.55464 |  | 12.0171 | 281.1654 | W | 8.0971 | 6.648 |  | 39.252 |  | 0.22491 | 0.99 |  | 49.4037 | 0.227 |  | 18.6793 | 0.085 |  | 3.6973 | 0.271 |  | 6.9312 | 4.195 |  | 232.5517 | 2.037 |  | 43.3105 | 5.599 |  | 90.2993 | 0.188 |  | 5.3028 | 904.9167 |  |  |  |  | 2.2423 | 311.4865 | 138.9126 | 76.6316 |  |  | M | M | M | M | M | M | M | M
2015701 | 2020-06-05 18:00 | 2.3833 |  | 1236 | 0.61579 |  | 12.8467 | 285.333 | W | 8.2823 | 6.803 |  | 35.154 |  | 0.1574 | 0.764 |  | 38.1257 | 0.125 |  | 10.2859 | 0.053 |  | 2.3054 | 0.115 |  | 2.9413 | 4.105 |  | 227.5625 | 1.558 |  | 33.126 | 4.429 |  | 71.4298 | 0.127 |  | 3.5822 | 667.4167 |  |  |  |  | 2.602 | 281.3771 | 108.1381 | 88.9511 |  |  | M | M | M | M | M | M | M | M
2015802 | 2020-06-06 06:00 | 2.5521 |  | 1151 | 0.48744 |  | 12.0076 | 289.5426 | W | 9.4039 | 6.823 |  | 40.689 |  | 0.15031 | 1.256 |  | 62.6778 | 0.233 |  | 19.173 | 0.054 |  | 2.3489 | 0.158 |  | 4.0411 | 4.287 |  | 237.6517 | 2.406 |  | 51.1561 | 6.875 |  | 110.8783 | 0.168 |  | 4.7387 | 626.5833 |  |  |  |  | 1.955 | 326.0418 | 166.7731 | 64.6363 |  |  | M | M | M | M | M | M | M | M
2015803 | 2020-06-06 18:00 | 4.1988 |  | 2512 | 0.68441 |  | 11.0288 | 305.3752 | NW | 7.5916 | 6.485 |  | 21.461 |  | 0.32734 | 0.648 |  | 32.3369 | 0.098 |  | 8.0642 | 0.026 |  | 1.1309 | 0.041 |  | 1.0486 | 2.095 |  | 116.1373 | 1.561 |  | 33.1898 | 3.089 |  | 49.8186 | 0.08 |  | 2.2565 | 368.5 |  |  |  |  | 1.8653 | 159.043 | 85.265 | 60.3976 |  |  | M | M | M | M | M | M | M | M
2016201 | 2020-06-10 18:00 | 1.6711 |  | 105 | 0.16074 |  | 14.5621 | 219.4785 | SW | 15.7053 | 5.278 |  | 79.692 |  | 5.2723 | 2.5 |  | 124.7567 | 0.761 |  | 62.6209 | 0.55 |  | 23.9237 | 0.568 |  | 14.5275 | 7.29 |  | 404.1244 | 7.663 |  | 162.9299 | 12.686 |  | 204.5967 | 1.048 |  | 29.5603 | 2391.4167 |  |  |  |  | 1.5996 | 635.1888 | 397.0869 | 46.1315 |  |  | M | M | M | M | M | M | M | M
2016302 | 2020-06-11 06:00 | 9.3219 |  | 1136 | 0.44606 |  | 15.5659 | 250.5389 | W | 18.3227 | 5.839 |  | 28.172 |  | 1.4488 | 0.731 |  | 36.4789 | 0.213 |  | 17.5273 | 0.49 |  | 21.3138 | 0.145 |  | 3.7086 | 2.403 |  | 133.2114 | 2.415 |  | 51.3475 | 4.546 |  | 73.3168 | 0.429 |  | 12.1005 | 742 |  |  |  |  | 1.5624 | 213.6786 | 136.7648 | 43.8951 |  |  | M | M | M | M | M | M | M | M
2016404 | 2020-06-12 06:00 | 4.7312 |  | 1060 | 0.30701 |  | 7.5166 | 285.7675 | W | 10.2217 | 6.736 |  | 38.59 |  | 0.18365 | 1.169 |  | 58.3362 | 0.142 |  | 11.6848 | 0.074 |  | 3.2188 | 0.249 |  | 6.3686 | 4.329 |  | 239.98 | 2.549 |  | 54.1966 | 7.142 |  | 115.1844 | 0.137 |  | 3.8643 | 521.8333 |  |  |  |  | 1.8458 | 319.7709 | 173.2453 | 59.4405 |  |  | M | M | M | M | M | M | M | M
2016401 | 2020-06-12 18:00 | 1.057 |  | 43 | 0.20731 |  | 7.2192 | 281.7217 | W | 9.0405 | 7.012 |  |  |  | 0.097275 | 3.15 |  | 157.1935 | 0.433 |  | 35.6305 | 0.091 |  | 3.9583 | 1.377 |  | 35.2189 |  |  |  | 3.829 |  | 81.4118 | 13.138 |  | 211.8865 | 1.335 |  | 37.6555 | [7 empty] | 330.9538 |  |  |  | M | M | M | M | M | M | M | M
2016502 | 2020-06-13 06:00 | 0.32931 |  | 255 | 0.5505 |  | 3.0598 | 311.349 | NW | 8.5906 | 6.589 |  | 30.663 |  | 0.25763 | 1.608 |  | 80.2435 | 0.183 |  | 15.0586 | 0.066 |  | 2.8708 | 0.337 |  | 8.6193 | 2.275 |  | 126.1156 | 2.808 |  | 59.7034 | 4.853 |  | 78.268 | 0.161 |  | 4.5412 | 395.9167 |  |  |  |  | 1.6361 | 233.1638 | 142.5126 | 48.2602 |  |  | M | M | M | M | M | M | M | M
2017604 | 2020-06-24 06:00 | 8.092 |  | 1137 | 0.49917 |  | 15.1288 | 259.1928 | W | 10.4744 | 6.297 |  | 13.682 |  | 0.50466 | 0.69 |  | 34.4329 | 0.136 |  | 11.1911 | 0.112 |  | 4.8717 | 0.059 |  | 1.509 | 1.017 |  | 56.3779 | 0.906 |  | 19.2633 | 2.041 |  | 32.9168 | 0.092 |  | 2.595 | 338 |  |  |  |  | 1.9878 | 108.8837 | 54.775 | 66.1238 |  |  | M | M | M | M | M | M | M | M
2017702 | 2020-06-25 06:00 | 11.9833 |  | 195 | 0.20213 |  | 6.5318 | 283.0208 | W | 11.3777 | 6.718 |  | 51.644 |  | 0.19143 | 1.51 |  | 75.3531 | 0.317 |  | 26.0852 | 0.193 |  | 8.395 | 0.099 |  | 2.5321 | 5.694 |  | 315.6494 | 4.215 |  | 89.6189 | 8.449 |  | 136.2634 | 0.379 |  | 10.6902 | 820.9167 |  |  |  |  | 1.81 | 428.2049 | 236.5725 | 57.6531 |  |  | M | M | M | M | M | M | M | M
2017804 | 2020-06-26 06:00 | 2.7306 |  | 749 | 0.37871 |  | 8.7775 | 285.0186 | W | 8.5495 | 6.741 |  | 32.663 |  | 0.18155 | 0.906 |  | 45.2118 | 0.168 |  | 13.8243 | 0.061 |  | 2.6534 | 0.049 |  | 1.2533 | 3.85 |  | 213.4265 | 1.56 |  | 33.1686 | 5.294 |  | 85.3803 | 0.137 |  | 3.8643 | 587.5833 |  |  |  |  | 2.2591 | 276.5495 | 122.4132 | 77.2685 |  |  | M | M | M | M | M | M | M | M
2018106 | 2020-06-29 06:00 | 7.8839 |  | 4150 | 0.61772 |  | 11.7069 | 76.6599 | E | 6.1847 | 6.093 |  | 19.463 |  | 0.80724 | 0.127 |  | 6.3376 | 0.041 |  | 3.3738 | 0.014 |  | 0.60897 | 0.021 |  | 0.53711 | 2.38 |  | 131.9364 | 1.474 |  | 31.34 | 2.821 |  | 45.4964 | 0.056 |  | 1.5796 | 453.0833 |  |  |  |  | 1.8312 | 143.5955 | 78.416 | 58.7172 |  |  | M | M | M | M | M | M | M | M
2018504 | 2020-07-03 06:00 | 5.5205 |  | 304 | 0.52709 |  | 14.6813 | 248.4649 | W | 6.7695 | 5.276 |  | 17.825 |  | 5.2966 | 0.915 |  | 45.661 | 0.15 |  | 12.3431 | 0.063 |  | 2.7403 | 0.079 |  | 2.0205 | 1.443 |  | 79.9933 | 0.575 |  | 12.2256 | 1.177 |  | 18.9824 | 0.126 |  | 3.554 | 1514.3334 |  |  |  | filtered | 4.258 | 148.0182 | 34.762 | 123.9262 |  |  | 73 | 870 | 1020 | 0 | M | 386 | 64 | M
2019004 | 2020-07-08 06:00 | 11.4207 |  | 1930 | 0.45341 |  | 15.1384 | 269.943 | W | 9.5142 | 4.671 |  | 35.409 |  | 21.3304 | 0.656 |  | 32.7362 | 0.168 |  | 13.8243 | 0.407 |  | 17.7035 | 0.128 |  | 3.2738 | 2.927 |  | 162.2595 | 3.45 |  | 73.3535 | 4.55 |  | 73.3813 | 0.312 |  | 8.8004 | 1156.5 |  |  |  | filtered | 1.6137 | 250.9795 | 155.5352 | 46.9574 |  |  | 53 | 95 | 310 | 46 | M | 385 | 49 | M
2019001 | 2020-07-08 18:00 | 4.4073 |  | 1096 | 0.59907 |  | 15.8323 | 283.4649 | W | 8.0325 | 6.319 |  | 34.928 |  | 0.47973 | 1.181 |  | 58.9351 | 0.183 |  | 15.0586 | 0.087 |  | 3.7843 | 0.196 |  | 5.013 | 3.212 |  | 178.0587 | 3.54 |  | 75.2671 | 5.285 |  | 85.2352 | 0.174 |  | 4.9079 | 724.25 |  |  |  | filtered | 1.5799 | 261.3261 | 165.4102 | 44.9532 |  |  | 0 | 490 | 500 | 42 | M | 383 | 48 | M
2019302 | 2020-07-11 06:00 | 3.9992 |  | 397 | 0.63893 |  | 15.9979 | 137.0081 | SE | 12.8644 | 5.988 |  | 12.911 |  | 1.028 | 0.648 |  | 32.3369 | 0.191 |  | 15.7169 | 0.331 |  | 14.3977 | 0.041 |  | 1.0486 | 0.655 |  | 36.3102 | 1.205 |  | 25.6206 | 1.641 |  | 26.4657 | 0.423 |  | 11.9313 | 410.0833 |  |  |  | filtered | 1.5751 | 100.8313 | 64.0175 | 44.6637 |  |  | 26 | 260 | 250 | 26 | M | 10 | 21 | M
2019404 | 2020-07-12 06:00 | 4.194 |  | 54 | 0.50473 |  | 15.5134 | 260.7785 | W | 8.9625 | 5.395 |  |  |  | 4.0272 | [12 empty] | 0.542 |  | 30.046 | 1.491 |  | 31.7015 | 1.592 |  | 25.6754 | 0.102 |  | 2.877 |  |  |  |  | filtered |  |  | 60.2539 |  |  |  | M | M | M | M | M | M | M | M
2019602 | 2020-07-14 06:00 | 7.7836 |  | 330 | 0.49364 |  | 11.2404 | 329.6539 | NW | 8.5489 | 6.452 |  | 19.866 |  | 0.35318 | 0.93 |  | 46.4095 | 0.071 |  | 5.8424 | 0.032 |  | 1.3919 | 0.06 |  | 1.5346 | 1.858 |  | 102.999 | 1.491 |  | 31.7015 | 2.403 |  | 38.755 | 0.114 |  | 3.2155 | 586 |  |  |  | filtered | 2.1518 | 158.5282 | 73.672 | 73.0888 |  |  | 45 | 310 | 270 | 0 | M | 30 | 46 | M
2019603 | 2020-07-14 18:00 | 8.2769 |  | 224 | 0.55903 |  | 11.8489 | 140.1929 | SE | 4.8328 | 6.25 |  | 12.956 |  | 0.56234 | 1.139 |  | 56.8392 | 0.164 |  | 13.4952 | 0.032 |  | 1.3919 | 0.096 |  | 2.4553 | 0.566 |  | 31.3765 | 1.251 |  | 26.5986 | 1.419 |  | 22.8853 | 0.099 |  | 2.7924 | 414.25 |  |  |  | filtered | 2.0299 | 106.1165 | 52.2763 | 67.9831 |  |  | 89 | 210 | 220 | 18 | M | 0 | 22 | M
2019704 | 2020-07-15 06:00 | 6.0214 |  | 89 | 0.56069 |  | 11.5263 | 100.9967 | E | 4.6248 | 6.423 |  |  |  | 0.37757 | 1.016 |  | 50.7011 | 0.175 |  | 14.4003 | 0.092 |  | 4.0018 | 0.194 |  | 4.9619 | 1.509 |  | 83.6521 | 1.575 |  | 33.4875 | 2.895 |  | 46.6899 | 0.153 |  | 4.3156 |  |  |  |  | filtered | 1.8711 | 158.0921 | 84.4929 | 60.6791 |  |  | M | M | M | M | M | M | M | M
2019802 | 2020-07-16 06:00 | 11.0836 |  | 213 | 1.3952 |  | 12.7956 | 213.2596 | SW | 9.1315 | 6.069 |  | 45.298 |  | 0.8531 | 2.614 |  | 130.4456 | 0.332 |  | 27.3195 | 0.196 |  | 8.5255 | 0.073 |  | 1.8671 | 3.644 |  | 202.0068 | 2.833 |  | 60.2349 | 9.165 |  | 147.8109 | 0.346 |  | 9.7594 | 1574 |  |  |  | filtered | 1.7034 | 371.0117 | 217.8052 | 52.0387 |  |  | 59 | 560 | 730 | M | M | 630 | 38 | M
2019803 | 2020-07-16 18:00 | 10.17 |  | 1129 | 1.5947 |  | 13.4814 | 238.0573 | SW | 9.3521 | 4.643 |  | 29.271 |  | 22.751 | 0.544 |  | 27.1471 | 0.113 |  | 9.2985 | 0.128 |  | 5.5677 | 0.059 |  | 1.509 | 1.973 |  | 109.3741 | 2.215 |  | 47.0951 | 5.058 |  | 81.5742 | 0.259 |  | 7.3054 | 795.5 |  |  |  | filtered | 1.2906 | 175.4892 | 135.9747 | 25.3734 |  |  | 40 | 440 | 440 | 39 | M | 210 | 76 | M
2020002 | 2020-07-18 06:00 | 5.2792 |  | 225 | 0.58341 |  | 13.6822 | 295.506 | NW | 14.7164 | 5.599 |  | 23.921 |  | 2.5177 | 0.262 |  | 13.0745 | 0.038 |  | 3.1269 | 0.036 |  | 1.5659 | 0.079 |  | 2.0205 | 2.432 |  | 134.819 | 2.356 |  | 50.093 | 3.648 |  | 58.8341 | 0.122 |  | 3.4412 | 450.8333 |  |  |  | filtered | 1.3981 | 157.1071 | 112.3683 | 33.2044 |  |  | 0 | 330 | 230 | 33 | M | 0 | 52 | M
2020003 | 2020-07-18 18:00 | 0.49321 |  | 79 | 0.20625 |  | 13.8494 | 293.7916 | NW | 10.2233 | 6.601 |  |  |  | 0.25061 | 0.616 |  | 30.7401 | 0.073 |  | 6.007 | 0.03 |  | 1.3049 | 0.066 |  | 1.6881 | 3.477 |  | 192.749 | 3.001 |  | 63.8069 | 4.493 |  | 72.462 | 0.142 |  | 4.0053 |  |  |  |  | filtered | 1.6592 | 232.738 | 140.2743 | 49.5768 |  |  | M | M | M | M | M | M | M | M
2020206 | 2020-07-20 06:00 | 8.5205 |  | 107 | 0.70324 |  | 15.8647 | 285.409 | W | 11.6622 | 6.615 |  |  |  | 0.24266 | 1.147 |  | 57.2384 | 0.226 |  | 18.597 | 0.064 |  | 2.7838 | 0.153 |  | 3.9132 | 1.416 |  | 78.4966 | 1.562 |  | 33.2111 | 2.836 |  | 45.7383 | 0.118 |  | 3.3284 |  |  |  |  | filtered | 1.9601 | 161.27 | 82.2777 | 64.868 |  |  | M | M | M | M | M | M | M | M
2020201 | 2020-07-20 18:00 | 2.3474 |  | 66 | 0.51077 |  | 14.561 | 289.5347 | W | 9.6474 | 6.164 |  |  |  | 0.68549 | 0.61 |  | 30.4406 | 0.135 |  | 11.1088 | 0.149 |  | 6.4811 | 0.939 |  | 24.0164 | 1.354 |  | 75.0596 | 1.79 |  | 38.0588 | 2.432 |  | 39.2227 | 1.037 |  | 29.25 |  |  |  |  | filtered | 1.3873 | 147.7873 | 106.5315 | 32.4442 |  |  | M | M | M | M | M | M | M | M
2020302 | 2020-07-21 06:00 | 7.7259 |  | 1226 | 0.37407 |  | 11.7659 | 319.1162 | NW | 9.7484 | 6.365 |  | 14.127 |  | 0.43152 | 0.925 |  | 46.16 | 0.095 |  | 7.8173 | 0.025 |  | 1.0874 | 0.065 |  | 1.6625 | 1.01 |  | 55.9898 | 1.006 |  | 21.3895 | 1.503 |  | 24.24 | 0.067 |  | 1.8898 | 612.1667 |  |  |  | filtered | 2.381 | 113.1456 | 47.5193 | 81.6933 |  |  | 0 | 320 | 260 | 25 | M | M | 0 | M
2020401 | 2020-07-22 18:00 | 1.0959 |  | 241 | 0.34038 |  | 13.9572 | 232.872 | SW | 5.6622 | 6.045 |  | 16.914 |  | 0.90157 | 0.922 |  | 46.0103 | 0.137 |  | 11.2734 | 0.072 |  | 3.1318 | 0.112 |  | 2.8646 | 1.291 |  | 71.5672 | 1.405 |  | 29.873 | 2.663 |  | 42.9482 | 0.115 |  | 3.2437 | 711.6667 |  |  |  | filtered | 1.7846 | 135.7425 | 76.0649 | 56.3508 |  |  | 0 | 370 | 330 | 28 | M | 0 | 44 | M
2020502 | 2020-07-23 06:00 | 9.0052 |  | 1067 | 0.72076 |  | 14.592 | 285.0089 | W | 8.2333 | 5.216 |  | 18.355 |  | 6.0813 | 0.569 |  | 28.3946 | 0.082 |  | 6.7476 | 0.027 |  | 1.1744 | 0.045 |  | 1.1509 | 1.428 |  | 79.1618 | 2.196 |  | 46.6911 | 2.701 |  | 43.5611 | 0.083 |  | 2.3411 | 478.5833 |  |  |  | filtered | 1.3248 | 122.6685 | 92.5933 | 27.9429 |  |  | M | 330 | 270 | 41 | M | 0 | 30 | M
2020901 | 2020-07-27 18:00 | 7.8341 |  | 367 | 0.58425 |  | 17.2548 | 286.7496 | W | 11.7019 | 6.294 |  | 48.3 |  | 0.50816 | 1.853 |  | 92.4697 | 0.323 |  | 26.5789 | 0.383 |  | 16.6596 | 0.116 |  | 2.9669 | 4.209 |  | 233.3278 | 6.749 |  | 143.4965 | 7.023 |  | 113.2652 | 0.316 |  | 8.9132 | 782.8333 |  |  |  | filtered | 1.4021 | 372.5075 | 265.675 | 33.4802 |  |  | 0 | 73 | 180 | 0 | M | 70 | 0 | M
2021002 | 2020-07-28 06:00 | 11.2269 |  | 238 | 0.60986 |  | 16.4554 | 289.5648 | W | 11.9714 | 6.379 |  | 20.383 |  | 0.41783 | 0.948 |  | 47.3078 | 0.194 |  | 15.9638 | 0.108 |  | 4.6977 | 0.14 |  | 3.5807 | 1.645 |  | 91.1913 | 2.313 |  | 49.1788 | 2.586 |  | 41.7064 | 0.128 |  | 3.6104 | 343.75 |  |  |  | filtered | 1.7266 | 163.1562 | 94.4956 | 53.2973 |  |  | 0 | 240 | 180 | 23 | M | 0 | 19 | M
2021003 | 2020-07-28 18:00 | 2.4281 |  | 127 | 0.64913 |  | 14.9536 | 281.519 | W | 8.1163 | 6.441 |  |  |  | 0.36224 | 0.782 |  | 39.0239 | 0.136 |  | 11.1911 | 0.05 |  | 2.1749 | 0.072 |  | 1.8415 | 0.923 |  | 51.1669 | 1.463 |  | 31.1061 | 1.633 |  | 26.3366 | 0.117 |  | 3.3001 |  |  |  |  | filtered | 1.7411 | 105.758 | 60.7429 | 54.0719 |  |  | M | M | M | M | M | M | M | M
2021104 | 2020-07-29 06:00 | 3.75 |  | 230 | 0.187 |  | 12.2364 | 284.7616 | W | 7.3288 | 6.678 |  | 74.189 |  | 0.20989 | 5.392 |  | 269.0753 | 0.662 |  | 54.4744 | 0.245 |  | 10.6569 | 0.239 |  | 6.1128 | 5.02 |  | 278.286 | 5.572 |  | 118.4713 | 14.315 |  | 230.8689 | 0.645 |  | 18.1931 | 1575.6666 |  |  |  | filtered | 1.6837 | 618.8138 | 367.5332 | 50.9518 |  |  | 35 | 460 | 540 | 130 | M | 730 | 23 | M
2021101 | 2020-07-29 18:00 | 2.3 |  | 282 | 0.32482 |  | 12.8108 | 276.7235 | W | 5.6747 | 7.075 |  | 66.578 |  | 0.08414 | 5.096 |  | 254.3041 | 0.568 |  | 46.7394 | 0.179 |  | 7.7861 | 0.327 |  | 8.3635 | 4.606 |  | 255.3357 | 4.385 |  | 93.2334 | 10.063 |  | 162.2936 | 0.535 |  | 15.0904 | 1207 |  |  |  | filtered | 2.1159 | 572.6122 | 270.6174 | 71.6281 |  |  | 0 | 410 | 490 | 52 | M | 300 | 20 | M
2021202 | 2020-07-30 06:00 | 8.4726 |  | 5165 | 0.68625 |  | 12.3267 | 286.5005 | W | 8.3988 | 6.682 |  | 22.025 |  | 0.20797 | 1.039 |  | 51.8489 | 0.16 |  | 13.166 | 0.022 |  | 0.95695 | 0.052 |  | 1.33 | 2.041 |  | 113.1437 | 1.765 |  | 37.5272 | 3.454 |  | 55.7053 | 0.098 |  | 2.7642 | 346.75 |  |  |  | filtered | 1.8819 | 180.6521 | 95.9967 | 61.2006 |  |  | 0 | 320 | 240 | 25 | M | 90 | 0 | M
2021203 | 2020-07-30 18:00 | 3.36 |  | 1442 | 0.51098 |  | 11.8761 | 288.0863 | W | 7.6854 | 6.568 |  | 13.91 |  | 0.2704 | 0.787 |  | 39.2734 | 0.168 |  | 13.8243 | 0.012 |  | 0.52197 | 0.03 |  | 0.7673 | 1.018 |  | 56.4333 | 1.046 |  | 22.2399 | 1.829 |  | 29.4977 | 0.063 |  | 1.777 | 334.4167 |  |  |  | filtered | 2.0759 | 111.0888 | 53.5146 | 69.955 |  |  | 0 | 200 | 150 | 30 | M | 40 | 44 | M
2021304 | 2020-07-31 06:00 | 4.6001 |  | 644 | 0.21518 |  | 11.0535 | 342.4138 | N | 9.0641 | 6.86 |  | 26.082 |  | 0.13804 | 1.692 |  | 84.4353 | 0.355 |  | 29.2121 | 0.027 |  | 1.1744 | 0.043 |  | 1.0998 | 2.145 |  | 118.909 | 1.273 |  | 27.0664 | 2.837 |  | 45.7544 | 0.132 |  | 3.7232 | 993.4167 |  |  |  | filtered | 3.0697 | 234.9678 | 76.5441 | 101.7128 |  |  | 30 | 530 | 470 | 55 | M | 120 | 29 | M
2021301 | 2020-07-31 18:00 | 0.71667 |  | 225 | 0.44653 |  | 10.9719 | 195.8951 | S | 6.3821 | 6.34 |  | 14.547 |  | 0.45709 | 1.372 |  | 68.4665 | 0.34 |  | 27.9778 | 0.018 |  | 0.78296 | 0.024 |  | 0.61384 | 0.238 |  | 13.1936 | 0.533 |  | 11.3326 | 0.968 |  | 15.6117 | 0.088 |  | 2.4822 | 684.3333 |  |  |  | filtered | 3.7887 | 111.4886 | 29.4264 | 116.4705 |  |  | 55 | 430 | 350 | 52 | M | 40 | 52 | M
2021606 | 2020-08-03 06:00 | 5.8944 |  | 196 | 0.38599 |  | 14.0431 | 268.7915 | W | 11.3029 | 6.392 |  | 23.081 |  | 0.40551 | 0.983 |  | 49.0543 | 0.453 |  | 37.2763 | 0.159 |  | 6.9161 | 0.119 |  | 3.0436 | 1.246 |  | 69.0726 | 2.543 |  | 54.069 | 1.855 |  | 29.917 | 0.18 |  | 5.0771 | 375.0833 |  |  |  | filtered | 1.8612 | 165.7656 | 89.0631 | 60.1992 |  |  | 0 | 250 | 170 | 80 | M | 0 | 19 | M
2021601 | 2020-08-03 18:00 | 2.9121 |  | 562 | 0.58007 |  | 11.7806 | 295.6855 | NW | 11.0649 | 6.29 |  | 3.782 |  | 0.51286 | 0.248 |  | 12.3759 | 0.126 |  | 10.3682 | 0.013 |  | 0.56547 | 0.015 |  | 0.38365 | 0.101 |  | 5.599 | 0.122 |  | 2.594 | 0.159 |  | 2.5643 | 0.024 |  | 0.67695 | 106.1667 |  |  |  | filtered | 5.1072 | 29.8015 | 5.8352 | 134.5033 |  |  | 0 | 140 | 37 | 0 | M | 0 | 0 | M
2021804 | 2020-08-05 06:00 | 8.2787 |  | 298 | 1.0339 |  | 11.9684 | 272.4453 | W | 11.4738 | 6.402 |  | 5.924 |  | 0.39628 | 0.404 |  | 20.1607 | 0.211 |  | 17.3627 | 0.029 |  | 1.2614 | 0.029 |  | 0.74172 | 0.181 |  | 10.0338 | 0.269 |  | 5.7194 | 0.315 |  | 5.0802 | 0.045 |  | 1.2693 | 91.25 |  |  |  | filtered | 4.139 | 49.9539 | 12.069 | 122.1643 |  |  | 26 | 250 | 160 | 26 | M | 0 | 18 | M
2021902 | 2020-08-06 06:00 | 11.45 |  | 287 | 0.1467 |  | 7.0739 | 291.4309 | W | 13.707 | 6.137 |  | 26.146 |  | 0.72946 | 1.438 |  | 71.7601 | 0.326 |  | 26.8258 | 0.12 |  | 5.2197 | 0.071 |  | 1.8159 | 1.743 |  | 96.624 | 1.973 |  | 41.9497 | 4.841 |  | 78.0745 | 0.232 |  | 6.5439 | 578.4167 |  |  |  | filtered | 1.6036 | 202.9698 | 126.5681 | 46.369 |  |  | 27 | 310 | 200 | 15 | M | 80 | 19 | M
2022306 | 2020-08-10 06:00 | 7.9414 |  | 557 | 0.65457 |  | 13.6738 | 293.1376 | NW | 10.2937 | 5.669 |  | 20.33 |  | 2.1429 | 0.667 |  | 33.2851 | 0.135 |  | 11.1088 | 0.031 |  | 1.3484 | 0.032 |  | 0.81845 | 1.872 |  | 103.7751 | 2.328 |  | 49.4977 | 3.256 |  | 52.512 | 0.136 |  | 3.8361 | 591.75 |  |  |  | filtered | 1.4404 | 152.4639 | 105.8457 | 36.0948 |  |  | M | M | M | M | M | M | M | M
2022402 | 2020-08-11 06:00 | 10.5741 |  | 483 | 0.43564 |  | 16.2499 | 280.431 | W | 8.9843 | 5.739 |  | 53.685 |  | 1.8239 | 1.391 |  | 69.4146 | 0.161 |  | 13.2483 | 0.151 |  | 6.5681 |  |  |  | 5.459 |  | 302.6221 | 7.541 |  | 160.3359 | 8.286 |  | 133.6346 | 0.251 |  | 7.0798 | 806.1667 |  |  |  | filtered |  |  | 301.0503 |  |  |  | 46 | 430 | 390 | 27 | M | 150 | 21 | M
2022504 | 2020-08-12 06:00 | 10.9716 |  | 353 | 0.75594 |  | 14.214 | 295.6879 | NW | 13.7954 | 6.292 |  | 14.8 |  | 0.51051 | 0.878 |  | 43.8146 | 0.142 |  | 11.6848 | 0.031 |  | 1.3484 | 0.071 |  | 1.8159 | 0.988 |  | 54.7702 | 1.205 |  | 25.6206 | 2.12 |  | 34.1908 | 0.087 |  | 2.454 | 326.8333 |  |  |  | filtered | 1.8299 | 113.9409 | 62.2654 | 58.6535 |  |  | 0 | 230 | 200 | 0 | M | 30 | 0 | M
2023102 | 2020-08-18 06:00 | 9.618 |  | 305 | 0.48069 |  | 9.9352 | 296.0315 | NW | 10.9077 | 5.19 |  | 18.962 |  | 6.4565 | 0.516 |  | 25.7498 | 0.101 |  | 8.311 | 0.096 |  | 4.1758 | 0.044 |  | 1.1254 | 1.459 |  | 80.8803 | 2.226 |  | 47.329 | 2.609 |  | 42.0773 | 0.107 |  | 3.0181 | 619.5 |  |  |  | filtered | 1.3704 | 126.6539 | 92.4244 | 31.2487 |  |  | M | M | M | M | M | M | M | M
2023302 | 2020-08-20 06:00 | 6.432 |  | 832 | 0.22538 |  | 5.4943 | 331.8915 | NW | 11.1508 | 6.888 |  | 16.725 |  | 0.12942 | 1.497 |  | 74.7043 | 0.097 |  | 7.9819 | 0.052 |  | 2.2619 | 0.057 |  | 1.4579 | 1.043 |  | 57.8192 | 0.678 |  | 14.4156 | 1.297 |  | 20.9177 | 0.143 |  | 4.0335 | 358.6667 |  |  |  | filtered | 3.6669 | 144.3536 | 39.3668 | 114.2898 |  |  | 25 | 300 | 130 | 19 | M | 70 | 21 | M
2023401 | 2020-08-21 18:00 | 10.2928 |  | 1884 | 0.50884 |  | 11.6386 | 291.9056 | W | 10.7396 | 6.532 |  | 13.286 |  | 0.29376 | 1.011 |  | 50.4516 | 0.11 |  | 9.0516 | 0.024 |  | 1.0439 | 0.029 |  | 0.74172 | 0.81 |  | 44.9027 | 1.264 |  | 26.875 | 1.456 |  | 23.482 | 0.057 |  | 1.6078 | 243 |  |  |  | filtered | 2.0491 | 106.4834 | 51.9648 | 68.8156 |  |  | 0 | 230 | 240 | 35 | M | 30 | 19 | M
2023502 | 2020-08-22 06:00 | 11.0761 |  | 323 | 0.45047 |  | 11.4788 | 307.636 | NW | 8.0886 | 6.321 |  | 18.135 |  | 0.47753 | 0.972 |  | 48.5054 | 0.224 |  | 18.4324 | 0.022 |  | 0.95695 | 0.038 |  | 0.97191 | 1.318 |  | 73.0639 | 1.766 |  | 37.5485 | 2.556 |  | 41.2225 | 0.1 |  | 2.8206 | 448.8333 |  |  |  | filtered | 1.7453 | 142.4048 | 81.5917 | 54.2983 |  |  | 0 | 270 | 220 | 27 | M | 20 | 46 | M
2023802 | 2020-08-25 06:00 | 6.0704 |  | 473 | 0.52525 |  | 14.3299 | 289.1891 | W | 11.8878 | 6.587 |  | 53.282 |  | 0.25882 | 1.926 |  | 96.1126 | 0.36 |  | 29.6235 | 0.072 |  | 3.1318 | 0.157 |  | 4.0155 | 5.259 |  | 291.535 | 6.878 |  | 146.2393 | 7.795 |  | 125.7159 | 0.225 |  | 6.3464 | 620.6667 |  |  |  | filtered | 1.526 | 424.6755 | 278.3016 | 41.644 |  |  | 50 | 310 | 300 | 25 | M | 200 | 44 | M
2023803 | 2020-08-25 18:00 | 6.9195 |  | 133 | 0.67097 |  | 12.5844 | 310.4767 | NW | 14.793 | 6.472 |  | 26.207 |  | 0.33729 | 1.207 |  | 60.2325 | 0.224 |  | 18.4324 | 0.054 |  | 2.3489 | 0.072 |  | 1.8415 | 1.702 |  | 94.3511 | 2.629 |  | 55.8975 | 2.153 |  | 34.7231 | 0.101 |  | 2.8488 | 409.9167 |  |  |  | filtered | 1.8995 | 177.5414 | 93.4694 | 62.0433 |  |  | 0 | 310 | 290 | 0 | M | 40 | 0 | M
2024703 | 2020-09-03 18:00 | 1.3639 |  | 59 | 0.45755 |  | 7.8008 | 292.5948 | NW | 8.7272 | 6.201 |  |  |  | 0.62951 | [9 empty] | 0.095 |  | 2.4298 | 1.026 |  | 56.8768 | 1.437 |  | 30.5533 | 1.713 |  | 27.6268 | 0.118 |  | 3.3284 |  |  |  |  | filtered |  |  | 61.5085 |  |  |  | M | M | M | M | M | M | M | M
2024804 | 2020-09-04 06:00 | 6.6628 |  | 127 | 0.52496 |  | 9.4997 | 282.0196 | W | 10.3838 | 6.616 |  | 13.489 |  | 0.2421 | 0.803 |  | 40.0719 | 0.202 |  | 16.6221 | 0.098 |  | 4.2628 | 0.131 |  | 3.3505 | 0.746 |  | 41.3548 | 1.177 |  | 25.0252 | 1.5 |  | 24.1916 | 0.129 |  | 3.6386 | 234.75 |  |  |  | filtered | 2.0036 | 105.9025 | 52.8555 | 66.8275 |  |  | M | M | M | M | M | M | M | M
2024902 | 2020-09-05 06:00 | 4.6243 |  | 143 | 0.1852 |  | 4.1816 | 298.8737 | NW | 14.6155 | 6.601 |  | 15.801 |  | 0.25061 | 0.969 |  | 48.3557 | 0.29 |  | 23.8634 | 0.063 |  | 2.7403 | 0.144 |  | 3.683 | 0.788 |  | 43.6831 | 1.355 |  | 28.8099 | 1.737 |  | 28.0139 | 0.115 |  | 3.2437 | 353.1667 |  |  |  | filtered | 2.0406 | 122.5745 | 60.0675 | 68.4475 |  |  | 0 | 380 | 230 | 27 | M | 10 | 44 | M
2025004 | 2020-09-06 06:00 | 8.5253 |  | 567 | 0.61432 |  | 5.8329 | 288.99 | W | 7.7433 | 6.574 |  | 16.848 |  | 0.26669 | 0.724 |  | 36.1295 | 0.166 |  | 13.6597 | 0.033 |  | 1.4354 | 0.105 |  | 2.6855 | 1.473 |  | 81.6564 | 1.527 |  | 32.4669 | 2.48 |  | 39.9968 | 0.086 |  | 2.4257 | 270.25 |  |  |  | filtered | 1.8138 | 135.8315 | 74.8895 | 57.8414 |  |  | 0 | 14 | 11 | 22 | M | 30 | 0 | M
2025201 | 2020-09-08 18:00 | 8.9042 |  | 185 | 0.54635 |  | 13.024 | 257.7671 | W | 6.3068 | 6.626 |  | 38.402 |  | 0.23659 | 2.815 |  | 140.4761 | 0.434 |  | 35.7128 | 0.244 |  | 10.6134 | 0.184 |  | 4.7061 | 1.88 |  | 104.2186 | 3.539 |  | 75.2458 | 6.069 |  | 97.8794 | 0.246 |  | 6.9388 | 749.25 |  |  |  | filtered | 1.6436 | 295.962 | 180.064 | 48.694 |  |  | 0 | 510 | 290 | 27 | M | 100 | 48 | M
2025302 | 2020-09-09 06:00 | 10.578 |  | 647 | 0.46592 |  | 14.0859 | 265.1345 | W | 7.6351 | 6.214 |  | 33.469 |  | 0.61094 | 1.67 |  | 83.3375 | 0.32 |  | 26.332 | 0.655 |  | 28.4909 | 0.183 |  | 4.6805 | 2.245 |  | 124.4526 | 2.847 |  | 60.5326 | 6.204 |  | 100.0566 | 0.464 |  | 13.0877 | 864.1667 |  |  |  | filtered | 1.5425 | 267.9002 | 173.677 | 42.6758 |  |  | 58 | 460 | 250 | 28 | M | 120 | 59 | M
2025303 | 2020-09-09 18:00 | 3.782 |  | 573 | 0.44469 |  | 15.2049 | 275.7954 | W | 6.8023 | 6.634 |  | 36.37 |  | 0.23227 | 2.855 |  | 142.4722 | 0.376 |  | 30.9401 | 0.69 |  | 30.0133 | 0.279 |  | 7.1359 | 1.682 |  | 93.2424 | 3.038 |  | 64.5936 | 7.202 |  | 116.1521 | 0.533 |  | 15.034 | 621.8333 |  |  |  | filtered | 1.5529 | 304.0346 | 195.7797 | 43.318 |  |  | 0 | 430 | 220 | 22 | M | 40 | 49 | M
2025501 | 2020-09-11 18:00 | 0.39192 |  | 120 | 0.11503 |  | 3.0421 | 43.0067 | NE | 5.4925 | 6.264 |  |  |  | 0.5445 | 0.273 |  | 13.6234 | 0.077 |  | 6.3361 | 0.174 |  | 7.5686 | 0.329 |  | 8.4147 | 0.517 |  | 28.6601 | 0.491 |  | 10.4396 | 0.358 |  | 5.7737 | 0.1 |  | 2.8206 | 453.5833 |  |  |  | filtered | 3.4225 | 65.1437 | 19.034 | 109.5534 |  |  | M | M | M | M | M | M | M | M
2025704 | 2020-09-13 06:00 | 1.6946 |  | 105 | 0.15849 |  | 8.1461 | 263.631 | W | 11.4121 | 6.43 |  |  |  | 0.37154 | 0.949 |  | 47.3577 | 0.225 |  | 18.5147 | 0.676 |  | 29.4043 | 0.622 |  | 15.9086 | 1.961 |  | 108.7089 | 2.208 |  | 46.9463 | 4.945 |  | 79.7518 | 1.056 |  | 29.7859 | 519.0833 |  |  |  | filtered | 1.4076 | 220.2632 | 156.4839 | 33.8579 |  |  | M | M | M | M | M | M | M | M
2026102 | 2020-09-17 06:00 | 3.4934 |  | 498 | 0.58471 |  | 6.8098 | 290.4365 | W | 8.7245 | 6.491 |  | 42.451 |  | 0.32285 | 2.378 |  | 118.6686 | 0.259 |  | 21.3125 | 0.167 |  | 7.2641 | 0.195 |  | 4.9874 | 3.276 |  | 181.6065 | 4.117 |  | 87.5352 | 8.692 |  | 140.1825 | 0.283 |  | 7.9824 | 594 |  |  |  | filtered | 1.4177 | 334.1597 | 235.7001 | 34.5557 |  |  | 58 | 220 | 12 | 16 | M | 220 | 21 | M
2026103 | 2020-09-17 18:00 | 6.4092 |  | 75 | 0.39277 |  | 5.1393 | 256.4179 | W | 3.4937 | 6.617 |  |  |  | 0.24155 | 2.537 |  | 126.6031 | 0.285 |  | 23.452 | 0.127 |  | 5.5242 | 0.254 |  | 6.4964 | 2.216 |  | 122.8449 | 2.293 |  | 48.7535 | 4.61 |  | 74.349 | 0.249 |  | 7.0234 | 960.6667 |  |  |  | filtered | 2.1914 | 285.1606 | 130.1259 | 74.664 |  |  | M | M | M | M | M | M | M | M
2026204 | 2020-09-18 06:00 | 2.694 |  | 83 | 0.30486 |  | 2.7495 | 288.3938 | W | 3.8306 | 6.677 |  | 21.39 |  | 0.21038 | 1.637 |  | 81.6907 | 0.229 |  | 18.8439 | 0.057 |  | 2.4794 | 0.247 |  | 6.3174 | 1.292 |  | 71.6226 | 1.664 |  | 35.3798 | 2.07 |  | 33.3845 | 0.139 |  | 3.9207 | 630 |  |  |  | filtered | 2.4924 | 181.1628 | 72.6849 | 85.4669 |  |  | M | M | M | M | M | M | M | M
2026705 | 2020-09-23 18:00 | 6.0393 |  | 374 | 0.52523 |  | 7.2665 | 321.2104 | NW | 14.3718 | 6.976 |  |  |  | 0.10568 | 2.42 |  | 120.7645 | 0.224 |  | 18.4324 | 0.073 |  | 3.1753 | 0.071 |  | 1.8159 | 1.884 |  | 104.4404 | 2.3 |  | 48.9024 | 3.932 |  | 63.4143 | 0.111 |  | 3.1309 | 364.4167 |  |  |  | filtered | 2.1545 | 248.7335 | 115.4476 | 73.1976 |  |  | M | M | M | M | M | M | M | M
2026801 | 2020-09-24 06:00 | 3.7744 |  | 111 | 0.43322 |  | 8.6655 | 312.453 | NW | 16.9908 | 6.428 |  |  |  | 0.37325 | 1.219 |  | 60.8314 | 0.188 |  | 15.4701 | 0.028 |  | 1.2179 | 0.207 |  | 5.2943 | 0.547 |  | 30.3232 | 0.768 |  | 16.3291 | 1.359 |  | 21.9176 | 0.1 |  | 2.8206 | 387.1667 |  |  |  | filtered | 2.7639 | 113.5076 | 41.0674 | 93.7282 |  |  | M | M | M | M | M | M | M | M
2027004 | 2020-09-26 06:00 | 0.69319 |  | 313 | 0.093101 |  | 10.6617 | 276.4006 | W | 8.3693 | 6.648 |  | 8.278 |  | 0.22491 | 0.923 |  | 46.0602 | 0.215 |  | 17.6918 | 0.013 |  | 0.56547 | 0.148 |  | 3.7853 | 0.091 |  | 5.0446 | 0.12 |  | 2.5514 | 0.2 |  | 3.2256 | 0.024 |  | 0.67695 | 158.4167 |  |  |  | filtered | 11.3684 | 73.3708 | 6.4539 | 167.6595 |  |  | 0 | 350 | 140 | 33 | M | 0 | 0 | M
2027106 | 2020-09-27 06:00 | 9.9439 |  | 468 | 0.52563 |  | 11.4037 | 263.6427 | W | 10.3615 | 6.432 |  | 15.147 |  | 0.36983 | 1.141 |  | 56.939 | 0.225 |  | 18.5147 | 0.199 |  | 8.656 | 0.094 |  | 2.4042 | 0.626 |  | 34.7026 | 1.371 |  | 29.1501 | 1.989 |  | 32.0781 | 0.257 |  | 7.249 | 266.3333 |  |  |  | filtered | 1.7755 | 121.5837 | 68.4772 | 55.8837 |  |  | 0 | 310 | 170 | 15 | M | 10 | 20 | M
2027208 | 2020-09-28 06:00 | 8.8455 |  | 256 | 0.40853 |  | 12.0488 | 250.8169 | W | 11.1489 | 6.118 |  | 14.761 |  | 0.76208 | 0.543 |  | 27.0972 | 0.175 |  | 14.4003 | 0.366 |  | 15.9201 | 0.071 |  | 1.8159 | 0.917 |  | 50.8343 | 1.524 |  | 32.4031 | 2.096 |  | 33.8038 | 0.411 |  | 11.5928 | 234.0833 |  |  |  | filtered | 1.4245 | 110.8246 | 77.7997 | 35.0166 |  |  | 0 | 230 | 110 | 15 | M | 0 | 18 | M
2027302 | 2020-09-29 06:00 | 11.4992 |  | 439 | 0.55843 |  | 12.0969 | 248.7251 | W | 13.5754 | 5.328 |  | 21.142 |  | 4.6989 | 0.254 |  | 12.6753 | 0.065 |  | 5.3487 | 0.114 |  | 4.9587 | 0.055 |  | 1.4067 | 2.155 |  | 119.4634 | 2.59 |  | 55.0683 | 3.21 |  | 51.7701 | 0.203 |  | 5.7259 | 451.1667 |  |  |  | filtered | 1.3194 | 148.5191 | 112.5643 | 27.5428 |  |  | 33 | 370 | 170 | 14 | M | 20 | 28 | M

## 2020 BLANKS, RINSES & QC
Atmospheric Sciences Research Center
http://atmoschem.asrc.cestm.albany.edu/~cloudwater/
Whiteface 2020 FIELD BLANKS & RINSES, QC analysis
LABNO | SAMPLEDATE | SO4_mg L-1 | NO3_mg L-1 | Cl_mg L-1 | Ca_mg L-1 | Mg_mg L-1 | Na_mg L-1 | K_mg L-1 | NH4_mg L-1 | TOC mg L-1 | LABPH | SPCOND µS cm-1 | Glyoxalate_ppb | Formate_ppb | AcetateGlycolate_ppb | Lactate_ppb | Malonate_ppb | Oxalate_ppb | Pyruvate_ppb | SuccinateMalate_ppb | FIELD_NOTES
20160X1 | 2020-06-08 09:00 | 0.012284 | 0 | 0 | -0.019461 | -0.0048637 | 0.032 | 0.001624 | 0.04 | 0.2166 | 5.63 | 1.2352 | M | M | M | M | M | M | M | M | Blank
20167X1 | 2020-06-15 08:45 | 0 | 0 | 0.0085461 | -0.023156 | -0.0052297 | 0.002 | 0.0021333 | 0.04 | 0.2357 | 5.541 | 1.4229 | M | M | M | M | M | M | M | M | Blank
20171X1 | 2020-06-19 09:30 | 0 | 0 | 0.0083755 | -0.017332 | -0.0055948 | 0.004 | -0.0031308 | 0.028 | 0.1929 | 5.53 | 1.4424 | M | M | M | M | M | M | M | M | Blank
20174X1 | 2020-06-22 09:00 | 0.012889 | 0 | 0 | -0.00048278 | -0.0067967 | 0.006 | -0.0062945 | 0.028 | 0.3304 | 5.631 | 1.2153 | M | M | M | M | M | M | M | M | Blank
20188X1 | 2020-07-06 09:00 | 0.016502 | 0 | 0 | -0.02808 | -0.0068653 | 0 | -0.0028211 | -0.068 | 0.5382 | 5.496 | 1.8224 | 0 | 130 | 70 | 30 | M | 0 | 0 | M | Blank
20192X1 | 2020-07-10 09:15 | 0 | 0 | 0.0087263 | -0.019184 | -0.0065093 | 0.005 | -0.00090479 | -0.05 | 0.3777 | 5.55 | 1.7512 | 0 | 90 | 80 | 0 | M | 0 | 0 | M | Blank
20197X1 | 2020-07-15 10:00 | 0 | 0 | 0.011794 | -0.021065 | -0.0089165 | 0.005 | -0.0026452 | 0 | 0.4729 | 5.401 | 2.073 | 0 | 0 | 0 | 0 | M | 0 | 66 | M | Blank
20204X1 | 2020-07-22 12:17 | 0 | 0 | 0.0085967 | -0.02124 | -0.0097141 | 0 | 0.00054201 | -0.038 | 0.4588 | 5.405 | 1.7115 | 0 | 110 | 70 | 20 | M | 0 | 0 | M | Blank
20213X1 | 2020-07-31 09:00 | 0 | 0 | 0 | -0.028417 | -0.01046 | 0.004 | -0.0012643 | 0.009 | 0.2806 | 5.639 | 1.8499 | 40 | 140 | 50 | 0 | M | 0 | 0 | M | Blank
20220X1 | 2020-08-07 09:33 | 0 | 0 | 0 | -0.011948 | -0.0067084 | 0.005 | -0.001831 | -0.007 | 0.2453 | 5.57 | 1.589 | M | M | M | M | M | M | M | M | Blank
20227X1 | 2020-08-14 09:16 | 0 | 0 | 0 | -0.018766 | -0.0043494 | 0.00025541 | -0.0050058 | -0.018 | 0.2706 | 5.609 | 1.3387 | M | M | M | M | M | M | M | M | Blank
20237X1 | 2020-08-24 08:30 | 0 | 0 | 0 | -0.0062415 | -0.0061776 | 0.007071 | -0.0065396 | -0.015 | 0.2848 | 5.609 | 1.3247 | M | M | M | M | M | M | M | M | Blank
20262X1 | 2020-09-18 08:55 | 0.013905 | 0 | 0 | 0.00033185 | -0.0059878 | 0.0051246 | 0.0028336 | -0.06 | 0.4169 | 5.413 | 1.9971 | 0 | 0 | 0 | 0 | M | 0 | 0 | M | Blank
20160X2 | 2020-06-08 09:10 | 0.057558 | 0.040339 | 0.008539 | 0.033981 | 0.019016 | 0.03 | 0.0662 | 0.053 | 0.9339 | 5.717 | 1.7101 | M | M | M | M | M | M | M | M | Rinse
20167X2 | 2020-06-15 08:50 | 0.04397 | 0.054533 | 0.013133 | 0.084031 | 0.020805 | 0.004 | 0.060721 | 0.102 | 0.8046 | 5.921 | 2.1484 | M | M | M | M | M | M | M | M | Rinse
20171X2 | 2020-06-19 09:47 | 0.25723 | 1.0413 | 0.11679 | 0.23054 | 0.062409 | 0.11 | 0.078477 | 0.162 | 1.0577 | 5.621 | 5.3455 | M | M | M | M | M | M | M | M | Rinse
20174X2 | 2020-06-22 09:15 | 0.090073 | 0.8055 | 0.056694 | 0.26524 | 0.050246 | 0.078 | 0.074607 | 0.123 | 1.9183 | 5.946 | 4.5801 | M | M | M | M | M | M | M | M | Rinse
20188X2 | 2020-07-06 09:05 | 0.13924 | 0.1842 | 0.02336 | 0.0051592 | 0.0066503 | 0.012 | 0.095723 | 0.107 | 1.2455 | 5.668 | 2.9155 | 0 | 10 | 0 | 0 | M | 0 | 0 | M | Rinse
20192X2 | 2020-07-10 09:20 | 0.22016 | 0.42086 | 0.026374 | 0.21888 | 0.067102 | 0.013 | 0.11969 | 0.151 | 1.3423 | 6.184 | 4.4069 | 0 | 200 | 130 | 0 | M | 0 | 0 | M | Rinse
20197X2 | 2020-07-15 10:05 | 0.038968 | 0.10634 | 0.048673 | 0.06597 | 0.0079995 | 0.012 | 0.087851 | 0.043 | 0.6595 | 5.958 | 2.0154 | M | M | M | M | M | M | M | M | Rinse
20204X2 | 2020-07-22 12:27 | 0.034396 | 0.064711 | 0 | 0.053586 | 0.0019397 | 0.001 | 0.034011 | -0.017 | 0.3887 | 5.907 | 1.6933 | 0 | 120 | 40 | 0 | M | 0 | 0 | M | Rinse
20213X2 | 2020-07-31 09:05 | 0.019665 | 0.036865 | 0.012705 | 0.050479 | 0.011459 | 0.009 | 0.019232 | 0.025 | 0.4634 | 5.86 | 2.4826 | M | M | M | M | M | M | M | M | Rinse
20220X2 | 2020-08-07 09:40 | 0.060728 | 0.055037 | 0.018695 | 0.041529 | 0.0044961 | 0.015 | 0.017285 | 0.027 | 0.4623 | 5.792 | 1.7048 | 0 | 0 | 0 | 0 | M | M | M | 0 | Rinse
20227X2 | 2020-08-14 09:30 | 0.030819 | 0.079451 | 0.022169 | 0.0064693 | 0.00066865 | 0.0095408 | 0.0074394 | -0.002 | 0.4069 | 5.675 | 2.4666 | 0 | 200 | 70 | 30 | M | 0 | 0 | M | Rinse
20237X2 | 2020-08-24 08:40 | 0.040181 | 0.07074 | 0.0094791 | 0.051515 | 0.0090668 | 0.0029071 | 0.010326 | 0.007 | 0.3461 | 5.784 | 1.5769 | 0 | 140 | 40 | 30 | M | 0 | 0 | M | Rinse
20262X2 | 2020-09-18 09:00 | 0.10165 | 0.13739 | 0.022124 | 0.16158 | 0.033019 | 0.0077072 | 0.10288 | 0.015 | 0.6549 | 6.181 | 3.425 | 0 | 270 | 60 | 0 | M | 0 | 0 | M | Rinse

## 2020 DATA SUMMARY
Atmospheric Sciences Research Center
http://atmoschem.asrc.cestm.albany.edu/~cloudwater/
Whiteface 2020 SUMMARY STATS
Summary statistics calculated using both 'VALID' and 'INVALID' data.
Parameter | UNITS | COUNT | Min | Max | Mean | Std. Dev. | Prior to 2018, only 'VALID' data were summarized here. We include both 'VALID' and 'INVALID' data in this summary. However, we continue to report the measurements for individual samples separated into the 'VALID' and 'INVALID' categories (in separate tabs within this spreadsheet), as done for the past several decades, to provide consistency with the historical dataset.
Cloud Samples |  | 126
Volume | mL | 126 | 43 | 11006 | 964.5317 | 1730.6916
LWC | g m-3 | 126 | 0.093101 | 1.5947 | 0.49908 | 0.23114
SO4 | µeq L-1 | 126 | 2.5514 | 162.9299 | 35.9685 | 30.712
NO3 | µeq L-1 | 126 | 2.5643 | 230.8689 | 45.4836 | 44.0467
Cl | µeq L-1 | 126 | 0.64875 | 38.5299 | 5.4286 | 6.8367
Ca | µeq L-1 | 124 | 0.89825 | 269.0753 | 43.4077 | 43.24
Mg | µeq L-1 | 124 | 0.16458 | 62.6209 | 13.0791 | 10.6084
Na | µeq L-1 | 124 | 0.17399 | 41.8881 | 4.6837 | 6.8236
K | µeq L-1 | 124 | 0.20461 | 35.2189 | 3.1135 | 4.4142
NH4 | µeq L-1 | 125 | -2.4392 | 404.1244 | 81.7992 | 76.8369
TOC | µMoles C L-1 | 116 | 75.25 | 2391.4167 | 463.2586 | 351.1652
TN
SCONDUCT | µS cm-1 | 110 | 0 | 79.692 | 19.9 | 15.1064
LABpH |  | 126 | 4.481 | 7.075 | 6.0659 | 0.58675
H | µeq L-1 | 126 | 0.08414 | 33.037 | 2.574 | 5.2836