## NOTES
2021 was the fourth summer of cloud water measurements overseen by the Atmospheric Sciences Research Center
Analytical chemistry measurements were conducted by the Adirondack Lake Survey Corporation (ALSC) unless otherwise specified.
Total Nitrogen and Organic acids have not yet been measured for these samples.
Samples are classified as 'VALID' and 'INVALID' in the so-named tabs based on the historical classification scheme determined by ion balance criteria.
Method Detection Limits are based on 3 times the standard deviation of 7 replicates of a low-level check standard.
Cl | 0.007 mg/L
NO3 | 0.005 mg/L
SO4 | 0.023 mg/L
K | 0.006 mg/L
Na | 0.009 mg/L
Mg | 0.002 mg/L
Ca | 0.015 mg/L
NH4 | 0.029 mg/L
TOC | 0.014 mg C/L
Parameter Technique Method Reference
Lab pH Open, stirred EPA AERP 051
Specific Conductance YSI @ 25oC EPA 120.12, 2510 B4
Chloride Ion Chromatography EPA 300.03, 4110 B4
Nitrate Ion Chromatography EPA 300.03, 4110 B4
Sulfate Ion Chromatography EPA 300.03, 4110 B4
Total Organic Carbon UV/Persulfate Oxidation EPA 415.12, 5310 C4
Ammonium Automated phenolate EPA 350.12, 4500-NH3 G4
Sodium AAS Direct Aspiration EPA 273.12, 3111 B4
Potassium AAS Direct Aspiration EPA 258.12, 3111 B4
Calcium AAS Direct Aspiration EPA 215.12, 3111 B4
Magnesium AAS Direct Aspiration EPA 242.12, 3111 B4
1Handbook of Methods for Acidic Deposition Studies: Laboratory Analysis for Surface Water Chemistry, EPA 600/4-87-026.
2Methods for Chemical Analysis of Water and Wastes, EPA 600/4-79-020, 1979, Revised 1983.
3Methods for the Determination of Inorganic Substances in Environmental Samples, EPA 600/R-93-100, 1993.
4Standard Methods for the Examination of Water and Wastewater, 18th-21st Editions, American Public Health Association, American Water Works Association, and Water Pollution Control Federation, 1992-2005.

## 2021 VALID
Atmospheric Sciences Research Center
http://atmoschem.asrc.cestm.albany.edu/~cloudwater/
Whiteface 2021 VALID DATA
LABNO | DUMP TIME | COLLECTION_HOURS | COLL_HR_F | POOL_VOL ml | LWC g m-3 | LWC_F | TEMP °C | WINDDIR_AVG °AZ | OCTANT | AVG_S_WSP m s-1 | LABPH | LABPH_F | SPCOND µS cm-1 | SPCOND_F | HION µeq L-1 | CA mg L-1 | CA_F | CA µeq L-1 | MG mg L-1 | MG_F | MG µeq L-1 | NA mg L-1 | NA_F | NA µeq L-1 | K mg L-1 | K_F | K µeq L-1 | NH4 mg L-1 | NH4_F | NH4 µeq L-1 | SO4 mg L-1 | SO4_F | SO4 µeq L-1 | NO3 mg L-1 | NO3_F | NO3 µeq L-1 | CL mg L-1 | CL_F | CL µeq L-1 | TOC µmols C L-1 | TOC_F | TN mg L-1 | TN_F | COMMENT | CATION_ANION_RATIO | SUM_CATIONS µeq L-1 | SUM_ANIONS µeq L-1 | RPD | MP_TEST | MISS_MAJ_ION | Glyoxalate_ppb | Formate_ppb | AcetateGlycolate_ppb | Lactate_ppb | Malonate_ppb | Oxalate_ppb | Pyruvate_ppb | SuccinateMalate_ppb
2116001 | 2021-06-09 18:00 | 0.71137 |  | 371 | 0.53111 |  | 15.7845 | 164.9562 | S | 6.1362 | 5.114 |  | 12.603 |  | 7.6913 | 0.385 |  | 19.2125 | 0.056 |  | 4.6081 | 0.025 |  | 1.0874 | 0.046 |  | 1.1765 | 0.855 |  | 47.3973 | 0.892 |  | 18.9656 | 1.095 |  | 17.6599 | 0.059 |  | 1.6642 | 494.0833 |  |  | M | filtered | 2.1186 | 81.1197 | 38.2897 | 71.7365 |  |  | 0 | 920 | 650 | 0 | M | 170 | 0 | M
2116603 | 2021-06-15 06:00 | 9.3647 |  | 2708 | 0.49797 |  |  | 252.07 | W | 7.2934 | 4.859 |  | 16.826 |  | 13.8357 | 0.267 |  | 13.324 | 0.033 |  | 2.7155 | 0.006 |  | 0.26099 | 0.041 |  | 1.0486 | 1.225 |  | 67.9084 | 1.111 |  | 23.622 | 1.775 |  | 28.6268 | 0.066 |  | 1.8616 | 502.9167 |  |  |  | filtered | 1.8295 | 98.997 | 54.1104 | 58.6343 |  |  | 0 | 67 | 230 | 0 | M | 222 | 0 | M
2116601 | 2021-06-15 18:00 | 7.839 |  | 2801 | 0.52726 |  |  | 270.822 | W | 7.5464 | 5.169 |  | 5.777 |  | 6.7764 | 0.154 |  | 7.685 | 0.016 |  | 1.3166 | -0.011 |  | -0.47847 | 0.001 |  | 0.025577 | 0.259 |  | 14.3578 | 0.333 |  | 7.0802 | 0.501 |  | 8.08 | 0.018 |  | 0.50771 | 223.6667 |  |  |  | filtered | 1.8915 | 29.6358 | 15.6679 | 61.6632 |  |  | 0 | 300 | 270 | 0 | M | 89 | 0 | M
2117303 | 2021-06-22 18:00 | 5.6255 |  | 3651 | 0.50763 |  | 5.0345 | 306.4836 | NW | 10.2126 | 5.195 |  | 6.657 |  | 6.3826 | 0.151 |  | 7.5353 | 0.02 |  | 1.6458 | 0.009 |  | 0.39148 | 0.025 |  | 0.63941 | 0.368 |  | 20.4002 | 0.458 |  | 9.7379 | 0.501 |  | 8.08 | 0.024 |  | 0.67695 | 257.25 |  |  |  | filtered | 1.9979 | 36.9505 | 18.4949 | 66.572 |  |  | 0 | 55 | 6 | 0 | M | 76 | 5 | M
2118202 | 2021-07-01 06:00 | 7.4366 |  | 558 | 0.4968 |  | 12.0604 | 329.1098 | NW | 10.7673 | 5.836 |  | 6.525 |  | 1.4588 | 0.275 |  | 13.7232 | 0.061 |  | 5.0195 | 0.009 |  | 0.39148 | 0.029 |  | 0.74172 | 0.451 |  | 25.0014 | 0.724 |  | 15.3936 | 0.762 |  | 12.2894 | 0.039 |  | 1.1 | 215.9167 |  |  |  | filtered | 1.6095 | 46.326 | 28.783 | 46.7135 |  |  | 0 | 330 | 140 | 0 | M | M | 0 | M
2118301 | 2021-07-02 18:00 | 1.2153 |  | 154 | 0.43512 |  | 9.5792 | 132.7357 | SE | 4.0074 | 6.546 |  | 11.986 |  | 0.28445 | 0.382 |  | 19.0628 | 0.041 |  | 3.3738 | 0.03 |  | 1.3049 | 0.123 |  | 3.1459 | 1.181 |  | 65.4693 | 0.647 |  | 13.7564 | 1.006 |  | 16.2245 | 0.067 |  | 1.8898 | 380 |  |  |  | filtered | 2.9067 | 92.6392 | 31.8708 | 97.6121 |  |  | 0 | 74 | 170 | 30 | M | 86 | 0 | M
2118402 | 2021-07-03 06:00 | 1.822 |  | 480 | 0.31924 |  | 8.5214 | 131.8986 | SE | 5.9615 | 6.242 |  | 4.093 |  | 0.5728 | 0.281 |  | 14.0227 | 0.031 |  | 2.5509 | 0.008 |  | 0.34798 | 0.052 |  | 1.33 | 0.189 |  | 10.4773 | 0.195 |  | 4.1461 | 0.359 |  | 5.7899 | 0.036 |  | 1.0154 | 132.5833 |  |  |  | filtered | 2.6753 | 29.2976 | 10.9514 | 91.1639 |  |  | 0 | 59 | 52 | 0 | M | M | 0 | M
2118801 | 2021-07-07 18:00 | 5.9059 |  | 466 | 0.4343 |  | 10.928 | 303.1712 | NW | 7.3389 | 4.647 |  | 15.673 |  | 22.5424 | 0.495 |  | 24.7018 | 0.064 |  | 5.2664 | 0.001 |  | 0.043498 | 0.096 |  | 2.4553 | 0.317 |  | 17.573 | 1.063 |  | 22.6014 | 0.776 |  | 12.5151 | 0.036 |  | 1.0154 | 749.75 |  |  |  | filtered | 2.0045 | 72.4258 | 36.132 | 66.8655 |  |  | 0 | 390 | 300 | 43 | M | 248 | 9 | M
2118902 | 2021-07-08 06:00 | 2.2252 |  | 98 | 0.41145 |  | 12.2292 | 266.421 | W | 6.5123 | 4.935 |  | 7.343 |  | 11.6145 | 0.448 |  | 22.3564 | 0.031 |  | 2.5509 | 0 |  | 0 | 0.064 |  | 1.6369 | 0.043 |  | 2.3837 | 0.797 |  | 16.9457 | 0.434 |  | 6.9994 | 0.029 |  | 0.81798 | 408.6667 |  |  |  | filtered | 1.6339 | 40.4617 | 24.7632 | 48.1367 |  |  | M | M | M | M | M | M | M | M
2118903 | 2021-07-08 18:00 | 6.1229 |  | 583 | 0.45807 |  | 13.3394 | 216.4483 | SW | 10.2167 | 4.346 |  | 37.236 |  | 45.0817 | 0.599 |  | 29.8917 | 0.112 |  | 9.2162 | 0.02 |  | 0.86995 | 0.124 |  | 3.1715 | 1.834 |  | 101.6686 | 3.659 |  | 77.7973 | 4.164 |  | 67.156 | 0.114 |  | 3.2155 | 576 |  |  |  | filtered | 1.2795 | 189.5863 | 148.1688 | 24.5252 |  |  | 0 | 300 | 330 | 0 | M | 356 | 3 | M
2119004 | 2021-07-09 06:00 | 8.6105 |  | 5572 | 0.64461 |  | 12.9362 | 267.8378 | W | 9.2128 | 5.411 |  | 3.904 |  | 3.8815 | 0.14 |  | 6.9864 | 0.014 |  | 1.152 | -0.001 |  | -0.043498 | 0.02 |  | 0.51153 | 0.068 |  | 3.7696 | 0.375 |  | 7.9732 | 0.394 |  | 6.3543 | 0.011 |  | 0.31027 | 68.5833 |  |  |  | filtered | 1.1088 | 16.2306 | 14.6378 | 10.3196 |  |  | 0 | 150 | 49 | 32 | M | 65 | 0 | M
2119001 | 2021-07-09 18:00 | 6.4855 |  | 2335 | 0.65662 |  | 13.7302 | 244.9076 | SW | 4.0517 | 4.896 |  | 13.737 |  | 12.7057 | 0.303 |  | 15.1205 | 0.03 |  | 2.4686 | 0.007 |  | 0.30448 | 0.083 |  | 2.1229 | 0.659 |  | 36.532 | 1.543 |  | 32.8071 | 1.796 |  | 28.9655 | 0.058 |  | 1.636 | 459.9167 |  |  |  | filtered | 1.0908 | 69.1659 | 63.4085 | 8.6854 |  |  | 0 | 67 | 0 | 32 | M | 117 | 0 | M
2119102 | 2021-07-10 06:00 | 5.9233 |  | 3655 | 0.67018 |  | 8.5901 | 117.286 | SE | 7.0542 | 4.6 |  | 17.053 |  | 25.1189 | 0.188 |  | 9.3817 | 0.014 |  | 1.152 | -0.005 |  | -0.21749 | 0.016 |  | 0.40922 | 0.438 |  | 24.2807 | 3.078 |  | 65.4441 | 0.785 |  | 12.6603 | 0.027 |  | 0.76157 | 205.25 |  |  |  | filtered | 0.76016 | 59.9504 | 78.866 | -27.2526 |  |  | 0 | 58 | 0 | 31 | M | 78 | 0 | M
2119204 | 2021-07-11 06:00 | 0.61535 |  | 71 | 0.69253 |  | 11.3224 | 315.6679 | NW | 5.656 | 6.049 |  |  |  | 0.89331 | 0.288 |  | 14.372 | 0.019 |  | 1.5635 | 0.055 |  | 2.3924 | 0.529 |  | 13.53 | 0.293 |  | 16.2426 | 0.568 |  | 12.0768 | 0.494 |  | 7.9671 | 0.203 |  | 5.7259 | 497 |  |  |  | filtered | 1.901 | 48.9875 | 25.7698 | 62.115 |  |  | M | M | M | M | M | M | M | M
2119301 | 2021-07-12 18:00 | 2.4373 |  | 434 | 0.31404 |  | 13.3132 | 131.1123 | SE | 5.2396 | 4.585 |  | 18.948 |  | 26.0016 | 0.363 |  | 18.1147 | 0.035 |  | 2.8801 | 0.016 |  | 0.69596 | 0.099 |  | 2.5321 | 0.672 |  | 37.2526 | 1.108 |  | 23.5582 | 2.628 |  | 42.3837 | 0.092 |  | 2.595 | 755.75 |  |  |  | filtered | 1.2737 | 87.2962 | 68.5369 | 24.0762 |  |  | 0 | 76 | 1 | 38 | M | 148 | 0 | M
2119402 | 2021-07-13 06:00 | 4.0984 |  | 1011 | 0.35852 |  | 13.4244 | 195.9159 | S | 11.4028 | 4.578 |  | 15.916 |  | 26.4241 | 0.251 |  | 12.5256 | 0.021 |  | 1.728 | 0.015 |  | 0.65246 | 0.065 |  | 1.6625 | 0.374 |  | 20.7329 | 1.158 |  | 24.6213 | 1.902 |  | 30.675 | 0.06 |  | 1.6924 | 418.5833 |  |  |  | filtered | 1.115 | 63.5418 | 56.9886 | 10.8739 |  |  | 0 | 68 | 0 | 33 | M | 130 | 0 | M
2119401 | 2021-07-13 18:00 | 10.7467 |  | 2106 | 0.60684 |  | 15.739 | 248.0667 | W | 7.2683 | 4.508 |  | 16.58 |  | 31.0456 | 0.211 |  | 10.5295 | 0.012 |  | 0.98745 | 0.013 |  | 0.56547 | 0.029 |  | 0.74172 | 0.231 |  | 12.8056 | 1.857 |  | 39.4833 | 1.271 |  | 20.4984 | 0.047 |  | 1.3257 | 278.8333 |  |  |  | filtered | 0.92092 | 56.4595 | 61.3074 | -8.2331 |  |  | 0 | 71 | 0 | 33 | M | 135 | 0 | M
2119502 | 2021-07-14 06:00 | 9.302 |  | 674 | 0.54208 |  | 14.7621 | 250.9461 | W | 11.4735 | 4.628 |  | 14.495 |  | 23.5505 | 0.226 |  | 11.278 | 0.015 |  | 1.2343 | 0.052 |  | 2.2619 | 0.056 |  | 1.4323 | 0.205 |  | 11.3643 | 1.548 |  | 32.9134 | 1.52 |  | 24.5142 | 0.08 |  | 2.2565 | 235.75 |  |  |  | filtered | 0.85379 | 50.9575 | 59.6841 | -15.7745 |  |  | 0 | 65 | 0 | 30 | M | 87 | 0 | M
2119503 | 2021-07-14 18:00 | 10.0889 |  | 477 | 0.51368 |  |  | 274.6973 | W | 7.8984 | 4.847 |  | 11.653 |  | 14.2233 | 0.21 |  | 10.4796 | 0.015 |  | 1.2343 | 0.026 |  | 1.1309 | 0.08 |  | 2.0461 | 0.344 |  | 19.0698 | 1.56 |  | 33.1686 | 1.379 |  | 22.2402 | 0.058 |  | 1.636 | 234.6667 |  |  |  | filtered | 0.84294 | 48.0852 | 57.0447 | -17.0447 |  |  | 0 | 160 | 83 | 33 | M | M | 0 | M
2119604 | 2021-07-15 06:00 | 11.932 |  | 412 | 0.41031 |  | 13.4348 | 299.0612 | NW | 8.2915 | 4.866 |  | 28.99 |  | 13.6144 | 0.545 |  | 27.197 | 0.038 |  | 3.1269 | 0.026 |  | 1.1309 | 0.121 |  | 3.0948 | 2.108 |  | 116.8579 | 4.241 |  | 90.1717 | 4.132 |  | 66.6399 | 0.11 |  | 3.1027 | 610.3333 |  |  |  | filtered | 1.0313 | 164.9273 | 159.9143 | 3.0865 |  |  | 41 | 200 | 120 | 34 | M | 107 | 0 | M
2119701 | 2021-07-16 18:00 | 8.9822 |  | 616 | 0.47397 |  | 12.6775 | 299.7246 | NW | 11.28 | 5.519 |  | 7.844 |  | 3.0269 | 0.284 |  | 14.1724 | 0.023 |  | 1.8926 | 0.008 |  | 0.34798 | 0.057 |  | 1.4579 | 0.418 |  | 23.172 | 0.819 |  | 17.4135 | 1.069 |  | 17.2406 | 0.043 |  | 1.2129 | 356.5 |  |  |  | filtered | 1.2281 | 44.0487 | 35.8669 | 20.476 |  |  |  | 69 |  |  | M | 77 |  | M
2119905 | 2021-07-18 18:00 | 4.874 |  | 447 | 0.34921 |  | 10.5272 | 142.1757 | SE | 5.0566 | 5.262 |  | 7.807 |  | 5.4702 | 0.221 |  | 11.0285 | 0.015 |  | 1.2343 | -0.003 |  | -0.13049 | 0.08 |  | 2.0461 | 0.326 |  | 18.072 | 0.464 |  | 9.8655 | 0.99 |  | 15.9665 | 0.039 |  | 1.1 | 465.3333 |  |  |  | filtered | 1.3992 | 37.6825 | 26.932 | 33.2757 |  |  | 49 | 320 | 210 | 43 | M | 96 | 0 | M
2120006 | 2021-07-19 06:00 | 5.1291 |  | 562 | 0.55007 |  | 11.041 | 122.1436 | SE | 3.6567 | 5.605 |  | 6.897 |  | 2.4831 | 0.156 |  | 7.7848 | 0.007 |  | 0.57601 | 0.005 |  | 0.21749 | 0.081 |  | 2.0717 | 0.458 |  | 25.3894 | 0.364 |  | 7.7393 | 0.759 |  | 12.241 | 0.046 |  | 1.2975 | 423.5 |  |  |  | filtered | 1.8096 | 38.5053 | 21.2778 | 57.6335 |  |  | 38 | 320 | 140 | 0 | M | 104 | 0 | M
2120205 | 2021-07-21 18:00 | 8.7987 |  | 3135 | 0.82833 |  | 8.9077 | 142.2808 | SE | 6.5204 | 4.886 |  | 10.544 |  | 13.0017 | 0.187 |  | 9.3318 | 0.022 |  | 1.8103 | 0.02 |  | 0.86995 | 0.052 |  | 1.33 | 0.463 |  | 25.6666 | 0.776 |  | 16.4992 | 0.758 |  | 12.2248 | 0.036 |  | 1.0154 | 395.6667 |  |  |  | filtered | 1.7458 | 51.92 | 29.7395 | 54.3243 |  |  | 50 | 330 | 230 | 40 | M | 182 | 0 | M
2120604 | 2021-07-25 06:00 | 0.94931 |  | 130 | 0.55787 |  | 12.0314 | 265.4495 | W | 13.7977 | 6.04 |  | 13.496 |  | 0.91201 | 0.691 |  | 34.4828 | 0.09 |  | 7.4059 | 0.016 |  | 0.69596 | 0.219 |  | 5.6013 | 0.837 |  | 46.3995 | 1.023 |  | 21.7509 | 1.404 |  | 22.6434 | 0.081 |  | 2.2847 | 2836.3333 |  |  |  | filtered | 2.0457 | 95.491 | 46.679 | 68.6671 |  |  | M | M | M | M | M | M | M | M
2120605 | 2021-07-25 18:00 | 4.7966 |  | 1137 | 0.55241 |  | 14.2435 | 286.4313 | W | 9.9315 | 4.946 |  | 10.829 |  | 11.324 | 0.251 |  | 12.5256 | 0.028 |  | 2.3041 | 0.005 |  | 0.21749 | 0.037 |  | 0.94633 | 0.436 |  | 24.1699 | 1.291 |  | 27.4491 | 0.774 |  | 12.4829 | 0.025 |  | 0.70516 | 630.1667 |  |  |  | filtered | 1.2651 | 51.4086 | 40.6371 | 23.4045 |  |  | 44 | 250 | 100 | 36 | M | 87 | 0 | M
2120902 | 2021-07-28 06:00 | 8.7844 |  | 1778 | 0.46574 |  | 8.371 | 90.9782 | E | 4.6141 | 4.743 |  | 13.964 |  | 18.0717 | 0.39 |  | 19.462 | 0.037 |  | 3.0446 | -0.002 |  | -0.086995 | 0.086 |  | 2.1996 | 0.453 |  | 25.1123 | 0.817 |  | 17.371 | 1.239 |  | 19.9823 | 0.038 |  | 1.0718 | 686.5 |  |  |  | filtered | 1.7613 | 67.6776 | 38.4251 | 55.14 |  |  | 52 | 380 | 240 | 55 | M | 166 | 0 | M
2121104 | 2021-07-30 06:00 | 7.9249 |  | 832 | 0.57722 |  | 9.8678 | 279.267 | W | 9.3475 | 4.845 |  | 15.578 |  | 14.2889 | 0.304 |  | 15.1704 | 0.024 |  | 1.9749 | 0.001 |  | 0.043498 | 0.097 |  | 2.4809 | 0.892 |  | 49.4484 | 1.544 |  | 32.8284 | 1.434 |  | 23.1272 | 0.048 |  | 1.3539 | 648.75 |  |  |  | filtered | 1.4536 | 83.3078 | 57.3095 | 36.9774 |  |  | 0 | 380 | 200 | 44 | M | 180 | 0 | M
2121101 | 2021-07-30 18:00 | 4.7555 |  | 1103 | 0.57901 |  | 6.4025 | 255.2395 | W | 9.0635 | 5.477 |  | 3.8 |  | 3.3343 | 0.158 |  | 7.8846 | 0.004 |  | 0.32915 | 0.002 |  | 0.086995 | 0.014 |  | 0.35807 | 0.096 |  | 5.3218 | 0.394 |  | 8.3772 | 0.264 |  | 4.2577 | 0.02 |  | 0.56413 | 124.75 |  |  |  | filtered | 1.3101 | 17.2917 | 13.199 | 26.8454 |  |  | 0 | 220 | 100 | 0 | M | 70 | 0 | M
2121202 | 2021-07-31 06:00 | 7.2103 |  | 896 | 0.25332 |  | 2.9034 | 116.6453 | SE | 13.4116 | 6.031 |  | 12.919 |  | 0.93111 | 0.659 |  | 32.8859 | 0.07 |  | 5.7601 | 0.21 |  | 9.1345 | 0.055 |  | 1.4067 | 0.753 |  | 41.7429 | 2.14 |  | 45.5005 | 0.695 |  | 11.2088 | 0.248 |  | 6.9952 | 303.8333 |  |  |  | filtered | 1.4419 | 91.8547 | 63.7044 | 36.1924 |  |  | 0 | 400 | 100 | 0 | M | 83 | 0 | M
2121406 | 2021-08-02 06:00 | 6.3135 |  | 338 | 0.65783 |  | 7.8618 | 191.6946 | S | 6.7783 | 6.351 |  |  |  | 0.44566 | 1.088 |  | 54.2941 | 0.072 |  | 5.9247 | 0.039 |  | 1.6964 | 0.143 |  | 3.6574 | 0.31 |  | 17.185 | 0.769 |  | 16.3504 | 0.991 |  | 15.9826 | 0.068 |  | 1.918 | 410.6667 |  |  |  | filtered | 2.4291 | 83.2002 | 34.251 | 83.3523 |  |  | M | M | M | M | M | M | M | M
2121401 | 2021-08-02 18:00 | 5.1767 |  | 443 | 0.6602 |  | 8.3927 | 138.5417 | SE | 9.474 | 5.224 |  | 7.115 |  | 5.9704 | 0.113 |  | 5.639 | 0 |  | 0 | 0.017 |  | 0.73946 | 0.036 |  | 0.92076 | 0.211 |  | 11.6969 | 0.625 |  | 13.2887 | 0.635 |  | 10.2411 | 0.034 |  | 0.95902 | 382.1667 |  |  |  | filtered | 1.0178 | 24.9249 | 24.4888 | 1.7652 |  |  | 0 | 340 | 150 | 0 | M | 86 | 0 | M
2122903 | 2021-08-17 18:00 | 6.136 |  | 1421 | 0.67165 |  | 14.0945 | 266.5919 | W | 7.9518 | 5.714 |  | 8.69 |  | 1.932 | 0.474 |  | 23.6539 | 0.054 |  | 4.4435 | 0.038 |  | 1.6529 | 0.06 |  | 1.5346 | 0.457 |  | 25.334 | 0.668 |  | 14.2029 | 1.405 |  | 22.6595 | 0.058 |  | 1.636 | 266 |  |  |  | filtered | 1.5205 | 58.5374 | 38.4984 | 41.3023 |  |  | 38 | 310 | 110 | 0 | M | 93 | 35 | M
2123004 | 2021-08-18 06:00 | 11.4447 |  | 759 | 0.81978 |  | 15.4163 | 295.2968 | NW | 6.0861 | 5.777 |  | 4.269 |  | 1.6711 | 0.221 |  | 11.0285 | 0.01 |  | 0.82288 | 0.003 |  | 0.13049 | 0.028 |  | 0.71614 | 0.109 |  | 6.0425 | 0.407 |  | 8.6536 | 0.572 |  | 9.2251 | 0.03 |  | 0.84619 | 77.8333 |  |  |  | filtered | 1.0895 | 20.3999 | 18.7249 | 8.5628 |  |  | 0 | 240 | 55 | 34 | M | M | 0 | M
2123001 | 2021-08-18 18:00 | 11.0338 |  | 658 | 0.54277 |  | 15.7995 | 295.4397 | NW | 4.7546 | 5.136 |  | 9.663 |  | 7.3114 | 0.243 |  | 12.1264 | 0.016 |  | 1.3166 | 0.005 |  | 0.21749 | 0.038 |  | 0.97191 | 0.366 |  | 20.2894 | 1.266 |  | 26.9176 | 1.41 |  | 22.7401 | 0.047 |  | 1.3257 | 177.5 |  |  |  | filtered | 0.82737 | 42.1823 | 50.9834 | -18.8934 |  |  | 0 | 220 | 98 | 0 | M | M | 4 | M
2123103 | 2021-08-19 18:00 | 0.79868 |  | 189 | 0.5481 |  | 14.4569 | 144.3441 | SE | 3.8353 | 5.777 |  | 4.472 |  | 1.6711 | 0.121 |  | 6.0382 | 0.002 |  | 0.16458 | 0.012 |  | 0.52197 | 0.151 |  | 3.8621 | 0.188 |  | 10.4219 | 0.411 |  | 8.7386 | 0.427 |  | 6.8866 | 0.038 |  | 1.0718 | 174.8333 |  |  |  | filtered | 1.3576 | 22.6682 | 16.697 | 30.3371 |  |  | 39 | 260 | 97 | 31 | M | M | 190 | M
2123204 | 2021-08-20 06:00 | 8.5757 |  | 615 | 0.54632 |  | 13.9308 | 88.0126 | E | 6.0429 | 5.763 |  | 11.179 |  | 1.7258 | 0.186 |  | 9.2819 | 0.014 |  | 1.152 | 0.073 |  | 3.1753 | 0.066 |  | 1.6881 | 0.894 |  | 49.5593 | 1.13 |  | 24.0259 | 1.996 |  | 32.191 | 0.128 |  | 3.6104 | 180.1667 |  |  |  | filtered | 1.1127 | 66.5704 | 59.8274 | 10.6696 |  |  | 0 | 290 | 91 | 0 | M | 83 | 9 | M
2123201 | 2021-08-20 18:00 | 2.742 |  | 69 | 0.60496 |  | 17.6913 | 78.0163 | E | 5.7131 | 6.349 |  |  |  | 0.44771 | 0.471 |  | 23.5042 | 0.019 |  | 1.5635 | 0.013 |  | 0.56547 | 0.034 |  | 0.8696 | 1.03 |  | 57.0985 | 1.128 |  | 23.9834 | 1.879 |  | 30.3041 | 0.054 |  | 1.5231 | 246.25 |  |  |  | filtered | 1.5059 | 84.0458 | 55.8106 | 40.3774 |  |  | M | M | M | M | M | M | M | M
2123501 | 2021-08-23 18:00 | 7.009 |  | 391 | 0.31658 |  | 15.3906 | 176.6538 | S | 5.799 | 5.708 |  | 8.989 |  | 1.9588 | 0.335 |  | 16.7174 | 0.025 |  | 2.0572 | 0.053 |  | 2.3054 | 0.142 |  | 3.6319 | 0.393 |  | 21.7861 | 0.761 |  | 16.1803 | 1.599 |  | 25.7883 | 0.121 |  | 3.413 | 272.3333 |  |  |  | filtered | 1.0675 | 48.4432 | 45.3816 | 6.5263 |  |  | 0 | 324 | 138 | 0 | M | M | 0 | M
2123602 | 2021-08-24 06:00 | 7.1848 |  | 429 | 0.5886 |  | 15.4917 | 318.2492 | NW | 9.7504 | 5.484 |  | 10.881 |  | 3.281 | 0.355 |  | 17.7155 | 0.035 |  | 2.8801 | 0.15 |  | 6.5246 | 0.099 |  | 2.5321 | 0.509 |  | 28.2166 | 1.142 |  | 24.2811 | 1.754 |  | 28.2881 | 0.163 |  | 4.5976 | 325.25 |  |  |  | filtered | 1.0693 | 61.127 | 57.1668 | 6.6956 |  |  | 0 | 309 | 170 | 0 | M | 70 | 0 | M
2123601 | 2021-08-24 18:00 | 3.7589 |  | 480 | 0.73435 |  | 17.0236 | 156.0871 | SE | 11.4824 | 4.944 |  | 15.348 |  | 11.3763 | 0.537 |  | 26.7977 | 0.056 |  | 4.6081 | 0.047 |  | 2.0444 | 0.081 |  | 2.0717 | 0.693 |  | 38.4168 | 1.535 |  | 32.637 | 1.627 |  | 26.2399 | 0.089 |  | 2.5104 | 322.25 |  |  |  | filtered | 1.3885 | 85.2359 | 61.3872 | 32.5306 |  |  | 38 | 470 | 310 | 49 | M | 142 | 0 | M
2123804 | 2021-08-26 06:00 | 3.7224 |  | 124 | 0.33491 |  | 17.0635 | 315.7427 | NW | 10.387 | 6.21 |  | 109.33 |  | 0.61659 | 4.689 |  | 233.9937 | 0.589 |  | 48.4674 | 1.28 |  | 55.6769 | 0.506 |  | 12.9417 | 8.909 |  | 493.8744 | 14.712 |  | 312.805 | 23.206 |  | 374.2607 | 1.294 |  | 36.499 | 692.6667 |  |  |  | filtered | 1.1686 | 845.5664 | 723.5648 | 15.5502 |  |  | 63 | 170 | 2 | 29 | M | 584 | 0 | M
2123801 | 2021-08-26 18:00 | 1.2835 |  | 21 | 0.1305 |  | 18.6969 | 316.9746 | NW | 10.2126 | 6.704 |  | 73.239 |  | 0.1977 | 3.588 |  | 179.0509 | 0.383 |  | 31.5161 | 0.673 |  | 29.2739 | 0.244 |  | 6.2407 | 4.654 |  | 257.9966 | 8.297 |  | 176.4099 | 13.918 |  | 224.4661 | 0.698 |  | 19.688 | 1682.4166 |  |  |  | filtered | 1.199 | 504.2744 | 420.5641 | 18.1027 |  |  | M | M | M | M | M | M | M | M
2124301 | 2021-08-31 06:00 | 5.2951 |  | 99 | 0.52033 |  | 11.2912 | 329.4629 | NW | 14.6928 | 6.322 |  | 13.496 |  | 0.47643 | 0.639 |  | 31.8878 | 0.038 |  | 3.1269 | 0.082 |  | 3.5668 | 0.081 |  | 2.0717 | 0.864 |  | 47.8962 | 1.77 |  | 37.6336 | 1.317 |  | 21.2403 | 0.098 |  | 2.7642 | 160.9167 |  |  |  | filtered | 1.4443 | 89.0226 | 61.638 | 36.3526 |  |  | M | M | M | M | M | M | M | M
2124302 | 2021-08-31 18:00 | 4.688 |  | 84 | 0.67885 |  | 11.7861 | 333.2745 | NW | 12.5848 | 6.466 |  | 14.535 |  | 0.34198 | 0.832 |  | 41.519 | 0.059 |  | 4.855 | 0.022 |  | 0.95695 | 0.103 |  | 2.6344 | 0.894 |  | 49.5593 | 1.283 |  | 27.279 | 1.848 |  | 29.8041 | 0.06 |  | 1.6924 | 312 |  |  |  | filtered | 1.6991 | 99.8642 | 58.7755 | 51.8013 |  |  | M | M | M | M | M | M | M | M

## 2021 INVALID
Atmospheric Sciences Research Center
http://atmoschem.asrc.cestm.albany.edu/~cloudwater/
Whiteface 2021 INVALID DATA
LABNO | DUMP TIME | COLLECTION_HOURS | COLL_HR_F | POOL_VOL ml | LWC g m-3 | LWC_F | TEMP °C | WINDDIR_AVG °AZ | OCTANT | AVG_S_WSP m s-1 | LABPH | LABPH_F | SPCOND µS cm-1 | SPCOND_F | HION µeq L-1 | CA mg L-1 | CA_F | CA µeq L-1 | MG mg L-1 | MG_F | MG µeq L-1 | NA mg L-1 | NA_F | NA µeq L-1 | K mg L-1 | K_F | K µeq L-1 | NH4 mg L-1 | NH4_F | NH4 µeq L-1 | SO4 mg L-1 | SO4_F | SO4 µeq L-1 | NO3 mg L-1 | NO3_F | NO3 µeq L-1 | CL mg L-1 | CL_F | CL µeq L-1 | TOC µmols C L-1 | TOC_F | TN mg L-1 | TN_F | COMMENT | CATION_ANION_RATIO | SUM_CATIONS µeq L-1 | SUM_ANIONS µeq L-1 | RPD | MP_TEST | MISS_MAJ_ION | Glyoxalate_ppb | Formate_ppb | AcetateGlycolate_ppb | Lactate_ppb | Malonate_ppb | Oxalate_ppb | Pyruvate_ppb | SuccinateMalate_ppb
2115901 | 2021-06-08 18:00 | 8.2966 |  | 936 | 0.48168 |  | 15.3854 | 272.2696 | W | 15.0283 | 4.862 |  | 24.282 |  | 13.7404 | 0.544 |  | 27.1471 | 0.121 |  | 9.9568 | 0.129 |  | 5.6112 | 0.107 |  | 2.7367 | 1.796 |  | 99.5621 | 2.338 |  | 49.7103 | 2.758 |  | 44.4804 | 0.176 |  | 4.9643 | 814.3333 |  |  |  | filtered | 1.6001 | 158.6587 | 99.155 | 46.1603 |  |  | 41 | 940 | 980 | 64 | M | 10 | 0 | M
2116002 | 2021-06-09 06:00 | 6.4662 |  | 1885 | 0.74346 |  | 15.047 | 296.0117 | NW | 11.6975 | 5.028 |  | 18.451 |  | 9.3756 | 0.443 |  | 22.1069 | 0.063 |  | 5.1841 | 0.047 |  | 2.0444 | 0.048 |  | 1.2277 | 1.462 |  | 81.0466 | 1.386 |  | 29.469 | 2.293 |  | 36.9809 | 0.085 |  | 2.3975 | 534.5 |  |  |  | filtered | 1.7563 | 120.9201 | 68.8475 | 54.8805 |  |  | 40 | 930 | 740 | 0 | M | 242 | 0 | M
2116502 | 2021-06-14 18:00 | 6.8866 |  | 2055 | 0.45939 |  |  | 225.2658 | SW | 6.3034 | 4.655 |  | 21.606 |  | 22.1309 | 0.302 |  | 15.0706 | 0.054 |  | 4.4435 | 0.055 |  | 2.3924 | 0.05 |  | 1.2788 | 1.325 |  | 73.452 | 1.473 |  | 31.3188 | 2.712 |  | 43.7385 | 0.133 |  | 3.7514 | 537.5833 |  |  |  | filtered | 1.5051 | 118.6144 | 78.8087 | 40.3253 |  |  | 0 | 580 | 750 | 0 | M | 317 | 0 | M
2116702 | 2021-06-16 06:00 | 2.8006 |  | 676 | 0.32085 |  |  | 280.6668 | W | 9.0496 | 5.468 |  | 17.091 |  | 3.4041 | 0.4 |  | 19.9611 | 0.055 |  | 4.5258 | 0.149 |  | 6.4811 | 0.118 |  | 3.018 | 1.575 |  | 87.3108 | 0.579 |  | 12.3106 | 1.164 |  | 18.7727 | 0.196 |  | 5.5284 | 923.3333 |  |  |  | filtered | 3.4054 | 124.6773 | 36.6118 | 109.2021 |  |  | 46 | 1850 | 1170 | 55 | M | 216 | 13 | M
2117201 | 2021-06-21 18:00 | 5.894 |  | 888 | 0.44145 |  | 16.5957 | 247.5854 | W | 10.4078 | 4.854 |  | 25.181 |  | 13.9959 | 0.621 |  | 30.9896 | 0.095 |  | 7.8173 | 0.114 |  | 4.9587 | 0.101 |  | 2.5832 | 1.827 |  | 101.2806 | 3.641 |  | 77.4146 | 1.962 |  | 31.6427 | 0.124 |  | 3.4976 | 779.0833 |  |  |  | filtered | 1.4351 | 161.528 | 112.5548 | 35.736 |  |  | 0 | 88 | 630 | 0 | M | 335 | 0 | M
2117302 | 2021-06-22 06:00 | 2.9034 |  | 226 | 0.51941 |  | 11.8368 | 258.2445 | W | 11.3056 | 5.322 |  | 20.357 |  | 4.7643 | 0.308 |  | 15.37 | 0.052 |  | 4.279 | 0.07 |  | 3.0448 | 0.12 |  | 3.0692 | 2.078 |  | 115.1949 | 2.606 |  | 55.4085 | 2.257 |  | 36.4003 | 0.1 |  | 2.8206 | 596.5833 |  |  |  | filtered | 1.5396 | 145.689 | 94.6295 | 42.4932 |  |  | 47 | 420 | 400 | 53 | M | 300 | 0 | M
2117404 | 2021-06-23 06:00 | 9.1197 |  | 5413 | 0.41139 |  | 1.9669 | 316.2519 | NW | 12.9775 | 6.624 |  | 15.34 |  | 0.23768 | 1.178 |  | 58.7854 | 0.058 |  | 4.7727 | 0.029 |  | 1.2614 | 0.037 |  | 0.94633 | 1.162 |  | 64.416 | 0.584 |  | 12.4169 | 1.587 |  | 25.5948 | 0.08 |  | 2.2565 | 322.4167 |  |  |  | filtered | 3.2387 | 130.4178 | 40.2682 | 105.6321 |  |  | 41 | 850 | 990 | 31 | M | 165 | 0 | M
2117703 | 2021-06-26 18:00 | 7.8142 |  | 1006 | 0.59515 |  | 13.6534 | 254.2867 | W | 10.4223 | 6.209 |  | 17.953 |  | 0.61802 | 1.012 |  | 50.5015 | 0.214 |  | 17.6095 | 0.3 |  | 13.0493 | 0.025 |  | 0.63941 | 1.25 |  | 69.2943 | 1.524 |  | 32.4031 | 2.07 |  | 33.3845 | 0.254 |  | 7.1644 | 620.1667 |  |  |  | filtered | 2.0796 | 151.7078 | 72.952 | 70.1112 |  |  | 56 | 470 | 510 | 5540 | M | 319 | 0 | M
2117804 | 2021-06-27 06:00 | 6.6392 |  | 273 | 0.25338 |  | 14.9377 | 256.1761 | W | 10.9657 | 6.232 |  | 42.935 |  | 0.58614 | 1.068 |  | 53.2961 | 0.3 |  | 24.6863 | 0.766 |  | 33.3191 | 0.09 |  | 2.3019 | 4.143 |  | 229.669 | 4.654 |  | 98.9528 | 5.54 |  | 89.3478 | 0.535 |  | 15.0904 | 1292.8334 |  |  |  | filtered | 1.6906 | 343.8545 | 203.391 | 51.3347 |  |  | 52 | 520 | 820 | 0 | M | 662 | 27 | M
2117805 | 2021-06-27 18:00 | 5.732 |  | 118 | 0.20044 |  | 16.8986 | 260.3666 | W | 10.0711 | 6.091 |  |  |  | 0.81096 | 1.688 |  | 84.2357 | 0.364 |  | 29.9527 | 0.681 |  | 29.6218 | 0.169 |  | 4.3224 | 5.603 |  | 310.6048 | 5.916 |  | 125.7854 | 6.798 |  | 109.6365 | 0.491 |  | 13.8493 | 1991.8334 |  |  |  | filtered | 1.8435 | 459.5428 | 249.2712 | 59.3306 |  |  | M | M | M | M | M | M | M | M
2117906 | 2021-06-28 06:00 | 3.0658 |  | 79 | 0.36031 |  |  | 274.2704 | W | 11.149 | 5.923 |  |  |  | 1.194 | 1.757 |  | 87.679 | 0.415 |  | 34.1494 | 0.919 |  | 39.9743 | 0.298 |  | 7.6218 | 4.736 |  | 262.5423 | 6.394 |  | 135.9486 | 7.532 |  | 121.4743 | 0.695 |  | 19.6034 | 1025.25 |  |  |  | filtered | 1.5636 | 433.1524 | 277.0263 | 43.9681 |  |  | M | M | M | M | M | M | M | M
2117901 | 2021-06-28 18:00 | 4.1767 |  | 1026 | 0.63122 |  |  | 273.2282 | W | 7.3261 | 5.819 |  | 22.228 |  | 1.5171 | 0.506 |  | 25.2508 | 0.151 |  | 12.4254 | 0.19 |  | 8.2645 | 0.058 |  | 1.4834 | 2.21 |  | 122.5123 | 2.568 |  | 54.6005 | 2.188 |  | 35.2875 | 0.148 |  | 4.1745 | 717.1667 |  |  |  | filtered | 1.8226 | 171.443 | 94.0626 | 58.2891 |  |  | 53 | 470 | 610 | 0 | M | 378 | 0 | M
2118101 | 2021-06-30 18:00 | 8.7614 |  | 1434 | 0.52722 |  | 15.7987 | 278.1895 | W | 10.1429 | 5.904 |  | 20.639 |  | 1.2474 | 0.515 |  | 25.6999 | 0.124 |  | 10.2037 | 0.091 |  | 3.9583 | 0.031 |  | 0.79287 | 2.02 |  | 111.9796 | 3.062 |  | 65.1039 | 2.547 |  | 41.0774 | 0.11 |  | 3.1027 | 361.1667 |  |  |  | filtered | 1.408 | 153.873 | 109.284 | 33.8878 |  |  | 0 | 400 | 290 | 36 | M | 174 | 0 | M
2118203 | 2021-07-01 18:00 | 0.40315 |  | 68 | 0.28726 |  | 12.3277 | 226.2951 | SW | 4.8694 | 6.277 |  |  |  | 0.52845 | 0.797 |  | 39.7724 | 0.07 |  | 5.7601 | 0.009 |  | 0.39148 | 0.021 |  | 0.53711 | 0.16 |  | 8.8697 | 0.265 |  | 5.6344 | 0.431 |  | 6.9511 | 0.034 |  | 0.95902 | 211.1667 |  |  |  | filtered | 4.1239 | 55.8556 | 13.5445 | 121.9339 |  |  | M | M | M | M | M | M | M | M
2118304 | 2021-07-02 06:00 | 7.6973 |  | 166 | 0.35644 |  | 9.8506 | 119.3929 | SE | 4.2237 | 6.631 |  | 20.544 |  | 0.23388 | 0.32 |  | 15.9689 | 0.042 |  | 3.4561 | 0.038 |  | 1.6529 | 0.13 |  | 3.325 | 2.556 |  | 141.693 | 0.951 |  | 20.2201 | 2.402 |  | 38.7389 | 0.132 |  | 3.7232 | 705.5 |  |  |  | filtered | 2.6535 | 166.328 | 62.6822 | 90.5164 |  |  | M | M | M | M | M | M | M | M
2118701 | 2021-07-06 18:00 | 8.1428 |  | 932 | 0.58046 |  | 15.7545 | 285.2339 | W | 11.6349 | 5.576 |  | 24.697 |  | 2.6546 | 0.65 |  | 32.4367 | 0.102 |  | 8.3933 | 0.017 |  | 0.73946 | 0.197 |  | 5.0386 | 2.487 |  | 137.868 | 2.47 |  | 52.5169 | 2.907 |  | 46.8834 | 0.081 |  | 2.2847 | 721.8333 |  |  |  | filtered | 1.8401 | 187.1122 | 101.685 | 59.1607 |  |  | 0 | 430 | 380 | 0 | M | 416 | 0 | M
2118802 | 2021-07-07 06:00 | 8.4753 |  | 383 | 0.40843 |  | 13.4645 | 313.1286 | NW | 13.4704 | 4.959 |  | 26.502 |  | 10.9901 | 0.873 |  | 43.565 | 0.129 |  | 10.6151 | 0.011 |  | 0.47847 | 0.25 |  | 6.3941 | 2.166 |  | 120.0732 | 2.395 |  | 50.9222 | 2.288 |  | 36.9003 | 0.068 |  | 1.918 | 1398.8334 |  |  |  | filtered | 2.1399 | 192.0396 | 89.7406 | 72.6091 |  |  | 52 | 160 | 130 | 0 | M | 341 | 0 | M
2119306 | 2021-07-12 06:00 | 2.8603 |  | 809 | 0.3675 |  | 12.1449 | 139.6289 | SE | 5.614 | 5.662 |  | 15.727 |  | 2.1777 | 0.277 |  | 13.823 | 0.045 |  | 3.7029 | 0.059 |  | 2.5664 | 0.259 |  | 6.6243 | 1.737 |  | 96.2914 | 0.896 |  | 19.0507 | 1.748 |  | 28.1913 | 0.11 |  | 3.1027 | 1083.25 |  |  |  | filtered | 2.4863 | 125.1706 | 50.3447 | 85.2643 |  |  | 0 | 540 | 650 | 0 | M | 247 | 0 | M
2119702 | 2021-07-16 06:00 | 3.7928 |  | 391 | 0.64449 |  | 15.4756 | 280.6229 | W | 9.9109 | 5.486 |  | 29.464 |  | 3.2659 | 0.995 |  | 49.6532 | 0.1 |  | 8.2288 | 0.062 |  | 2.6968 | 0.153 |  | 3.9132 | 2.654 |  | 147.1257 | 5.055 |  | 107.4789 | 2.699 |  | 43.5288 | 0.124 |  | 3.4976 | 754.5 |  |  |  | filtered | 1.3906 | 214.8608 | 154.5053 | 32.6806 |  |  | 39 | 220 | 210 | 36 | M | 175 | 0 | M
2120001 | 2021-07-19 18:00 | 1.1833 |  | 58 | 0.1341 |  | 14.5517 | 297.6189 | NW | 8.2786 | 4.454 |  |  |  | 35.156 | 1.157 |  | 57.7374 | 0.075 |  | 6.1716 | 0.013 |  | 0.56547 | 0.303 |  | 7.7497 | 1.95 |  | 108.0991 | 1.719 |  | 36.5492 | 1.913 |  | 30.8524 | 0.098 |  | 2.7642 | 2364 |  |  |  | filtered | 3.0675 | 215.2349 | 70.1658 | 101.6599 |  |  | M | M | M | M | M | M | M | M
2120102 | 2021-07-20 06:00 | 10.9613 |  | 2306 | 0.57793 |  | 13.7288 | 330.5743 | NW | 12.3219 | 4.383 |  | 39.421 |  | 41.4 | 1.047 |  | 52.2481 | 0.136 |  | 11.1911 | 0.047 |  | 2.0444 | 0.27 |  | 6.9057 | 2.383 |  | 132.1027 | 1.836 |  | 39.0368 | 2.408 |  | 38.8356 | 0.083 |  | 2.3411 | 2711.4167 |  |  |  | filtered | 3.0619 | 245.6041 | 80.2136 | 101.5233 |  |  | 140 | 1300 | 1900 | 0 | M | 1096 | 9 | M
2120103 | 2021-07-20 18:00 | 4.2739 |  | 506 | 0.42515 |  | 14.2093 | 322.2608 | NW | 7.0864 | 4.181 |  | 58.514 |  | 65.9174 | 0.761 |  | 37.9759 | 0.15 |  | 12.3431 | 0.083 |  | 3.6103 | 0.392 |  | 10.026 | 3.833 |  | 212.4841 | 2.597 |  | 55.2171 | 4.315 |  | 69.5913 | 0.121 |  | 3.413 | 3878.1667 |  |  |  | filtered | 2.6665 | 341.8986 | 128.2214 | 90.9033 |  |  | 180 | 1600 | 2700 | 0 | M | 1680 | 25 | M
2120306 | 2021-07-22 06:00 | 4.5338 |  | 1401 | 0.37762 |  | 9.1333 | 210.3763 | SW | 7.4771 | 5.428 |  | 14.628 |  | 3.7325 | 0.49 |  | 24.4523 | 0.078 |  | 6.4184 | 0.09 |  | 3.9148 | 0.087 |  | 2.2252 | 1.344 |  | 74.5052 | 0.969 |  | 20.6028 | 1.467 |  | 23.6594 | 0.084 |  | 2.3693 | 839.5 |  |  |  | filtered | 2.4709 | 115.2225 | 46.6315 | 84.7566 |  |  | 44 | 560 | 380 | 77 | M | 299 | 4 | M
2120706 | 2021-07-26 06:00 | 9.1599 |  | 854 | 0.66244 |  | 12.7396 | 289.9653 | W | 10.053 | 5.007 |  | 52.055 |  | 9.8401 | 1.001 |  | 49.9526 | 0.159 |  | 13.0837 | 0.169 |  | 7.3511 | 0.497 |  | 12.7116 | 5.621 |  | 311.6026 | 3.978 |  | 84.5798 | 4.573 |  | 73.7522 | 0.141 |  | 3.9771 | 300.3333 |  |  |  | filtered | 2.492 | 404.4733 | 162.3091 | 85.4522 |  |  | 130 | 1550 | 1500 | 0 | M | 1178 | 13 | M
2120701 | 2021-07-26 18:00 | 2.4569 |  | 126 | 0.53929 |  | 14.3613 | 305.7209 | NW | 14.1131 | 5.552 |  |  |  | 2.8054 | 0.796 |  | 39.7225 | 0.108 |  | 8.8871 | 0.052 |  | 2.2619 | 0.228 |  | 5.8315 | 1.89 |  | 104.773 | 1.735 |  | 36.8894 | 1.722 |  | 27.772 | 0.075 |  | 2.1155 | 3583.1667 |  |  |  | filtered | 2.4599 | 164.2619 | 66.7769 | 84.3884 |  |  | M | M | M | M | M | M | M | M
2120802 | 2021-07-27 06:00 | 1.9292 |  | 173 | 0.19532 |  | 11.6682 | 329.4627 | NW | 11.7912 | 4.849 |  | 33.911 |  | 14.1579 | 1.395 |  | 69.6142 | 0.198 |  | 16.2929 | 0.039 |  | 1.6964 | 0.368 |  | 9.4122 | 2.461 |  | 136.4266 | 2.06 |  | 43.7995 | 2.699 |  | 43.5288 | 0.141 |  | 3.9771 | 1556.6666 |  |  |  | filtered | 2.7107 | 247.5019 | 91.3054 | 92.2037 |  |  | 0 | 1050 | 900 | 0 | M | 746 | 12 | M
2120801 | 2021-07-27 18:00 | 1.2239 |  | 131 | 0.24859 |  | 11.4791 | 308.3294 | NW | 7.2613 | 4.65 |  | 28.125 |  | 22.3872 | 1.455 |  | 72.6084 | 0.201 |  | 16.5398 | 0.02 |  | 0.86995 | 0.417 |  | 10.6654 | 1.29 |  | 71.5117 | 1.776 |  | 37.7611 | 2.559 |  | 41.2709 | 0.116 |  | 3.2719 | 2255.6667 |  |  |  | filtered | 2.3623 | 194.4269 | 82.304 | 81.0339 |  |  | M | M | M | M | M | M | M | M
2121203 | 2021-07-31 18:00 | 0.80176 |  | 99 | 0.12139 |  | 7.2135 | 119.3273 | SE | 14.1005 | 6.33 |  |  |  | 0.46774 | 1.333 |  | 66.5203 | 0.123 |  | 10.1214 | 0.134 |  | 5.8287 | 0.165 |  | 4.2201 | 0.383 |  | 21.2318 | 1.916 |  | 40.7378 | 0.613 |  | 9.8863 | 0.213 |  | 6.008 |  |  |  |  | filtered | 1.9139 | 108.3867 | 56.6321 | 62.7258 |  |  | M | M | M | M | M | M | M | M
2121304 | 2021-08-01 06:00 | 2.6557 |  | 279 | 0.16968 |  | 6.5051 | 324.2403 | NW | 11.6316 | 6.414 |  |  |  | 0.38548 | 1.243 |  | 62.029 | 0.109 |  | 8.9693 | 0.118 |  | 5.1327 | 0.161 |  | 4.1178 | 1.159 |  | 64.2497 | 1.14 |  | 24.2386 | 1.846 |  | 29.7718 | 0.199 |  | 5.6131 |  |  |  |  | filtered | 2.4299 | 144.8814 | 59.6235 | 83.3799 |  |  | M | M | M | M | M | M | M | M
2122301 | 2021-08-11 18:00 | 6.1787 |  | 1118 | 0.63691 |  | 17.9838 | 293.2932 | NW | 8.4978 | 5.685 |  | 20.318 |  | 2.0654 | 0.349 |  | 17.416 | 0.041 |  | 3.3738 | 0.142 |  | 6.1767 | 0.135 |  | 3.4528 | 1.929 |  | 106.935 | 2.542 |  | 54.0477 | 2.73 |  | 44.0288 | 0.102 |  | 2.877 | 465.6667 |  |  |  | filtered | 1.3809 | 139.4053 | 100.9536 | 31.9953 |  |  | 45 | 360 | 160 | 47 | M | 215 | 0 | M
2122402 | 2021-08-12 18:00 | 9.2891 |  | 487 | 0.43902 |  | 16.8895 | 289.6321 | W | 9.0031 | 5.643 |  | 29.201 |  | 2.2751 | 0.944 |  | 47.1081 | 0.125 |  | 10.2859 | 0.418 |  | 18.182 | 0.186 |  | 4.7572 | 2.273 |  | 126.0048 | 4.316 |  | 91.7663 | 3.782 |  | 60.9952 | 0.264 |  | 7.4465 | 703.25 |  |  |  | filtered | 1.302 | 208.5974 | 160.208 | 26.2411 |  |  | 51 | 410 | 170 | 0 | M | 151 | 0 | M
2122503 | 2021-08-13 06:00 | 8.0125 |  | 411 | 0.34732 |  | 15.9671 | 309.5765 | NW | 15.3746 | 5.929 |  | 44.699 |  | 1.1776 | 1.326 |  | 66.171 | 0.15 |  | 12.3431 | 0.323 |  | 14.0497 | 0.262 |  | 6.7011 | 4.089 |  | 226.6755 | 5.183 |  | 110.2004 | 8.329 |  | 134.3281 | 0.209 |  | 5.8951 | 765.0833 |  |  |  | filtered | 1.3062 | 327.1098 | 250.4236 | 26.5565 |  |  | 0 | 430 | 240 | 0 | M | 196 | 0 | M
2122602 | 2021-08-14 06:00 | 9.3981 |  | 751 | 0.66396 |  | 16.5106 | 296.9438 | NW | 8.1468 | 6.606 |  | 33.205 |  | 0.24774 | 1.502 |  | 74.9538 | 0.126 |  | 10.3682 | 0.235 |  | 10.2219 | 0.154 |  | 3.9388 | 2.895 |  | 160.4856 | 3.204 |  | 68.1231 | 5.162 |  | 83.2515 | 0.179 |  | 5.0489 | 560.4167 |  |  |  | filtered | 1.6635 | 260.2144 | 156.4235 | 49.8231 |  |  | 49 | 360 | 250 | 36 | M | 195 | 1 | M
2122603 | 2021-08-14 18:00 | 2.802 |  | 223 | 0.47873 |  | 12.3666 | 307.6138 | NW | 14.548 | 6.554 |  | 21.061 |  | 0.27925 | 0.97 |  | 48.4056 | 0.111 |  | 9.1339 | 0.159 |  | 6.9161 | 0.144 |  | 3.683 | 1.634 |  | 90.5815 | 1.996 |  | 42.4387 | 2.789 |  | 44.9803 | 0.083 |  | 2.3411 | 377.75 |  |  |  | filtered | 1.7714 | 158.9975 | 89.7602 | 55.6665 |  |  | 42 | 270 | 95 | 0 | M | 113 | 33 | M
2122902 | 2021-08-17 06:00 | 1.4265 |  | 175 | 0.22299 |  | 12.5037 | 299.7549 | NW | 9.1106 | 5.789 |  | 50.965 |  | 1.6255 | 2.545 |  | 127.0023 | 0.427 |  | 35.1368 | 0.495 |  | 21.5313 | 0.279 |  | 7.1359 | 3.872 |  | 214.646 | 3.221 |  | 68.4846 | 11.236 |  | 181.2115 | 0.623 |  | 17.5726 | 2206.3333 |  |  |  | filtered | 1.5231 | 407.0666 | 267.2686 | 41.4625 |  |  | 68 | 380 | 590 | 0 | M | 642 | 34 | M
2123702 | 2021-08-25 06:00 | 1.0251 |  | 15 | 0.16546 |  | 14.8784 | 341.9061 | N | 14.1097 | 5.744 |  |  |  | 1.803 | 0.931 |  | 46.4594 | 0.067 |  | 5.5133 | 0.074 |  | 3.2188 | 0.259 |  | 6.6243 | 0.672 |  | 37.2526 | 1.345 |  | 28.5972 | 1.371 |  | 22.1112 | 0.144 |  | 4.0617 | 547.4167 |  |  |  | filtered | 1.8415 | 100.8589 | 54.7701 | 59.2291 |  |  | M | M | M | M | M | M | M | M
2123902 | 2021-08-27 06:00 | 8.2103 |  | 285 | 0.57988 |  | 16.3497 | 282.6474 | W | 8.5048 | 6.801 |  | 57.507 |  | 0.15812 | 2.646 |  | 132.0425 | 0.347 |  | 28.5538 | 0.41 |  | 17.834 | 0.266 |  | 6.8034 | 4.634 |  | 256.8879 | 6.909 |  | 146.8984 | 9.528 |  | 153.6653 | 0.368 |  | 10.3799 | 745.8333 |  |  |  | filtered | 1.4224 | 442.2786 | 310.9436 | 34.8728 |  |  | 44 | 360 | 260 | 34 | M | 170 | 29 | M
2124403 | 2021-09-01 06:00 | 2.3306 |  | 66 | 0.24932 |  | 8.7062 | 56.9898 | NE | 10.0527 | 6.512 |  |  |  | 0.30761 | 1.746 |  | 87.1301 | 0.071 |  | 5.8424 | 0.024 |  | 1.0439 | 0.216 |  | 5.5245 | 0.863 |  | 47.8408 | 1.421 |  | 30.2131 | 1.394 |  | 22.4821 | 0.094 |  | 2.6514 |  |  |  |  | filtered | 2.6684 | 147.6873 | 55.3466 | 90.9608 |  |  | M | M | M | M | M | M | M | M

## 2021 BLANKS, RINSES & QC
Atmospheric Sciences Research Center
http://atmoschem.asrc.cestm.albany.edu/~cloudwater/
Whiteface 2021 FIELD BLANKS & RINSES, QC analysis
LABNO | SAMPLEDATE | SO4_mg L-1 | NO3_mg L-1 | Cl_mg L-1 | Ca_mg L-1 | Mg_mg L-1 | Na_mg L-1 | K_mg L-1 | NH4_mg L-1 | TOC mg L-1 | LABPH | SPCOND µS cm-1 | Glyoxalate_ppb | Formate_ppb | AcetateGlycolate_ppb | Lactate_ppb | Malonate_ppb | Oxalate_ppb | Pyruvate_ppb | SuccinateMalate_ppb | FIELD_NOTES
21160x1 | 2021-06-09 | 0.019 | 0 | 0 | 0.017 | 0.003 | -0.014 | 0.003 | -0.006 | 0.208 | 5.631 | 1.36 | M | M | M | M | M | M | M | M | blank
21169x1 | 2021-06-18 | 0 | 0 | 0 | 0.02 | 0.002 | -0.013 | -0.014 | -0.017 | 0.217 | 5.636 | 1.184 | 0 | 99 | 37 | 0 | M | M | 0 | M | blank
21180x1 | 2021-06-29 | 0.016 | 0 | 0 | 0.049 | -0.002 | -0.013 | 0.002 | 0.002 | 0.14 | 5.652 | 1.161 | 0 | 150 | 44 | 0 | M | M | 0 | M | blank
21196x1 | 2021-07-15 | 0.015 | 0 | 0 | 0.141 | 0.002 | -0.01 | 0.002 | -0.028 | 0.178 | 6.117 | 1.294 | 0 | 120 | 55 | 0 | M | M | 0 | M | blank
21216x1 | 2021-08-04 | 0.018 | 0 | 0 | 0.273 | 0.017 | 0.005 | 0 | -0.02 | 0.185 | 6.007 | 1.406 | 0 | 270 | 150 | 31 | M | M | 0 | M | blank
21160x2 | 2021-06-09 | 0.037 | 0 | 0 | 0.021 | 0.006 | -0.014 | 0.009 | 0.022 | 0.438 | 5.515 | 1.66 | M | M | M | M | M | M | M | M | Rinse
21169x2 | 2021-06-18 | 0.044 | 0.056 | 0.013 | 0.068 | 0.003 | -0.01 | 0.004 | 0.024 | 0.379 | 5.62 | 1.556 | 0 | 160 | 23 | 0 | M | M | 0 | M | Rinse
21180x2 | 2021-06-29 | 0.039 | 0.062 | 0.013 | 0.101 | 0.004 | -0.01 | 0 | 0.038 | 0.266 | 5.853 | 1.541 | 0 | 240 | 93 | 0 | M | M | 0 | M | Rinse
21196x2 | 2021-07-15 | 0.132 | 0.437 | 0.017 | 0.262 | 0.014 | 0.005 | 0.087 | 0.018 | 0.921 | 5.896 | 3.856 | 0 | 49 | 0 | 48 | M | M | 0 | M | Rinse
21216x2 | 2021-08-04 | 0.032 | 0.077 | 0.003 | 0.128 | 0 | 0.004 | 0.037 | 0.006 | 0.569 | 6.06 | 1.919 | 0 | 250 | 110 | 0 | M | M | 7 | M | Rinse

## 2021 DATA SUMMARY
Atmospheric Sciences Research Center
http://atmoschem.asrc.cestm.albany.edu/~cloudwater/
Whiteface 2021 SUMMARY STATS
Summary statistics calculated using both 'VALID' and 'INVALID' data.
Parameter | UNITS | COUNT | Min | Max | Mean | Std. Dev. | Prior to 2018, only 'VALID' data were summarized here. We include both 'VALID' and 'INVALID' data in this summary. However, we continue to report the measurements for individual samples separated into the 'VALID' and 'INVALID' categories (in separate tabs within this spreadsheet), as done for the past several decades, to provide consistency with the historical dataset.
Cloud Samples |  | 83
Volume | mL | 83 | 15 | 5572 | 886.759 | 1100.2345
LWC | g m-3 | 83 | 0.12139 | 0.82833 | 0.47465 | 0.16536
SO4 | µeq L-1 | 83 | 4.1461 | 312.805 | 43.8228 | 45.6509
NO3 | µeq L-1 | 83 | 4.2577 | 374.2607 | 41.9638 | 53.4245
Cl | µeq L-1 | 83 | 0.31027 | 36.499 | 4.0274 | 5.3474
Ca | µeq L-1 | 83 | 5.639 | 233.9937 | 36.8234 | 37.6268
Mg | µeq L-1 | 83 | 0 | 48.4674 | 7.6597 | 9.0197
Na | µeq L-1 | 83 | -0.47847 | 55.6769 | 5.1626 | 9.6114
K | µeq L-1 | 83 | 0.025577 | 13.53 | 3.4944 | 3.0337
NH4 | µeq L-1 | 83 | 2.3837 | 493.8744 | 84.0542 | 87.4391
TOC | µMoles C L-1 | 80 | 68.5833 | 3878.1667 | 743.901 | 763.5048
TN
SCONDUCT | µS cm-1 | 71 | 3.8 | 109.33 | 21.2322 | 17.7934
LABpH |  | 83 | 4.181 | 6.801 | 5.5088 | 0.68373
H | µeq L-1 | 83 | 0.15812 | 65.9174 | 8.5016 | 11.8513