## Slide 1: Cloud and Aerosol size distributions and CCN activity
Sara Lance
WFM Pilot Study, Preliminary Observations
Aug 24, 2017

## Slide 2
Aerosol Impacts: Climate (‘Global Dimming’)
Haze blown off the Eastern coast of China, over Bo Hai Bay and the Yellow Sea

## Slide 3: Aerosol Impacts: Climate (Effects on Clouds)
“Indirect Effect” of Aerosols on Climate
More particles that act as “Cloud Condensation Nuclei” = clouds with a higher concentration of droplets

## Slide 4
Notes: Continuum between the aerosol and cloud measurements, since particles do not remain a constant size. Dry aerosol particles grow hygroscopically when exposed to water vapor. At RH < 100% some particles can swell significantly and become haze particles. Above 100% RH, the hygroscopic particles can then ‘activate’ and act as CCN, at which point they grow very quickly through condensation to become cloud droplets, which are typically 10-20 um in diameter.

## Slide 5
Aerosol Instruments installed at the WFM summit
Installed June 22, 2017

## Slide 6: Back on June 22….

## Slide 7: FSSP Cloud Droplet Size Distributions

## Slide 8: Summit Measurement Summary
Day |  | Aerosol | CCN | Clouds | Notes
Aug 13 | Sun | Total Number | Total Number | Tail end of am clouds | DMA broken
Aug 14 | Mon | Total Number | Total Number |  | DMA broken
Aug 15 | Tues | Size distribution | Total Number in am | FSSP measurements down from 6-10am | DMA leaking, FSSP connectivity problem
Aug 16 | Wed | Size distribution | size resolved, Calibration |  | 
Aug 17 | Thurs | Size distribution | size resolved |  | 
Aug 18 | Fri | Size distribution | size resolved |  | 
Aug 19 | Sat | Size distribution | size resolved |  | Long cloud sampling day
Aug 20 | Sun | Size distribution | size resolved |  | 
Aug 21 | Mon | Size distribution | size resolved, Calibration 10-11:30am |  | Hazy. Clear-air comparison with van
Aug 22 | Tues | Size distribution | size resolved |  | 
Aug 23 | Wed | Size distribution | size resolved |  | 

## Slide 14: SMCA (Scanning Mobility CCN Analysis)
08/17/2017
Ambient data, averaging over 26 scans at 0.4% Supersaturation

## Slide 15: SMCA (Scanning Mobility CCN Analysis)
08/17/2017
Ambient data, averaging over 26 scans at 0.6% Supersaturation

## Slide 16: SMCA (Scanning Mobility CCN Analysis)
08/17/2017
Ambient data, averaging over 26 scans at 0.8% Supersaturation

## Slide 17: SMCA (Scanning Mobility CCN Analysis)
08/17/2017
Ambient data, averaging over 26 scans at 1.0% Supersaturation

## Slide 18: SMCA (Scanning Mobility CCN Analysis)
08/21/2017
Calibration data w/ AS, 1 scan at 0.6% Supersaturation

## Slide 19: SMCA (Scanning Mobility CCN Analysis)
08/17/2017
Ambient data, averaging over 26 scans at 0.6% Supersaturation

## Slide 20: SMCA (Scanning Mobility CCN Analysis)
08/21/2017
Calibration data w/ AS, 1 scan at 0.4% Supersaturation

## Slide 21: SMCA (Scanning Mobility CCN Analysis)
08/17/2017
Ambient data, averaging over 26 scans at 0.4% Supersaturation

## Slide 22: Size-resolved CCN measurements = information about aerosol chemical composition
Hygroscopicity Parameter (kappa) for ammonium sulfate is ~0.6
For Organics compounds, kappa is typically < 0.2
(Petters and Kreidenweis, 2007)

## Slide 23: German Study Comparing Hygroscopicity Parameter (kappa) at upwind and downwind sites on cloudy and clear-air days
(Henning et al, 2014)
Full Cloud Events
Non-
Cloud
Events

## Slide 28: Principle of Operation for the CCNc
Thermal diffusivity < Molecular diffusivity of water vapor
1.
2.
3.
4.
A
B
C
A
B
CCNc Column
Generates a Supersaturation
of water vapor (0.1% - 1.0 %)
laminar
flow
cold
hot
Same temperature
at C and A
Same H2O mixing ratio
at C and B
Notes: Generates a supersaturation. Allows particles to activate and grow into cloud droplets. Counts the number of droplets formed.

## Slide 29: Principle of Operation for the CCNc
Thermal diffusivity < Molecular diffusivity of water vapor
1.
2.
3.
4.
cold
hot
Same temperature
at C and A
Same H2O mixing ratio
at C and B
Particle counter,
1 um lower size cutoff
droplet
growth
droplet
activation
Generates a Supersaturation
of water vapor (0.1% - 1.0 %)

## Slide 30: Cloud droplet probe Sample Area
laser
beam
dump
Qualifier
Sizer
sample area
The “sample area” is defined by the optical and electronic systems of the CDP (or FSSP)
direction of airflow
Lance et al., Water droplet calibration of the Cloud Droplet Probe (CDP), 2010
Notes: Sample area is defined by the optical and electronic systems of the CDP.

## Slide 31: Droplets outside the Sample Area
laser
beam
dump
Qualifier
Sizer
Lance et al., Water droplet calibration of the Cloud Droplet Probe (CDP), 2010

## Slide 32
laser
beam
dump
Qualifier
Sizer
Lance et al., Water droplet calibration of the Cloud Droplet Probe (CDP), 2010
Droplets outside the Sample Area

## Slide 33: Drops inside the Sample Area
laser
beam
dump
Qualifier
Sizer
Lance et al., Water droplet calibration of the Cloud Droplet Probe (CDP), 2010

## Slide 34
CAS
CDP
CIP*
CIP
CDP*
* = Modified
Instrumentation during the Calnex 2010 Campaign (California)